## List1
Software will read settings from cells E2 to E7 and |  |  | measurement properties |  |  | hardware data |  |  |  | Actual number of readings: | 400
measurement points from collumns A-C (yellow cells). |  |  | AC voltage amplitude | 1 | V | AC source idn | dummy AC source |  |  | Crude estimate of measurement time (h): | 0
Results will be written into collumns D-H (and K+). Sheet must |  |  | Sampling frequency | 15000000 | Hz
contain keywords START and STOP in collumn A, values of |  |  |  |  | s | Digitizer idn | Simulated ADC, channel 1
frequency in collumn B, and record length in C. |  |  |  |  | s
Place keyword STOP to the row with half of the sampling frequency.
|  |  | Algorithm | TWM-WRMS
inputs |  |  | results
Command | Signal frequency | Record length | TIme of reading | RMS amplitude cable |  | RMS amplitude short |  | Calculation
(START, STOP) | Hz | multiple of periods | (time of writing this line into excel) | value (V) | unc (V) | value (V) | unc (V) | for figure
START | 10000 | 10000 | 2024-11-19 09:05 | 0.6 | 0 | 0.6 | 0 | 10 | 1
| 20000 | 20000 | 2024-11-19 09:06 | 0.599 | 0 | 0.5999 | 0 | 20 | 0.9985
| 30000 | 30000 | 2024-11-19 09:07 | 0.598 | 0 | 0.5998 | 0 | 30 | 0.997
| 40000 | 40000 | 2024-11-19 09:08 | 0.597 | 0 | 0.5997 | 0 | 40 | 0.9955
| 50000 | 50000 | 2024-11-19 09:08 | 0.596 | 0 | 0.5996 | 0 | 50 | 0.994
| 60000 | 60000 | 2024-11-19 09:09 | 0.595 | 0 | 0.5995 | 0 | 60 | 0.99249
| 70000 | 70000 | 2024-11-19 09:10 | 0.594 | 0 | 0.5994 | 0 | 70 | 0.99099
| 80000 | 80000 | 2024-11-19 09:10 | 0.593 | 0 | 0.5993 | 0 | 80 | 0.98949
| 90000 | 90000 | 2024-11-19 09:11 | 0.592 | 0 | 0.5992 | 0 | 90 | 0.98798
| 100000 | 100000 | 2024-11-19 09:12 | 0.591 | 0 | 0.5991 | 0 | 100 | 0.98648
| 110000 | 110000 | 2024-11-19 09:13 | 0.59 | 0 | 0.599 | 0 | 110 | 0.98497
| 120000 | 120000 | 2024-11-19 09:13 | 0.589 | 0 | 0.5989 | 0 | 120 | 0.98347
| 130000 | 130000 | 2024-11-19 09:14 | 0.588 | 0 | 0.5988 | 0 | 130 | 0.98196
| 140000 | 140000 | 2024-11-19 09:15 | 0.587 | 0 | 0.5987 | 0 | 140 | 0.98046
| 150000 | 150000 | 2024-11-19 09:16 | 0.586 | 0 | 0.5986 | 0 | 150 | 0.97895
| 160000 | 160000 | 2024-11-19 09:16 | 0.585 | 0 | 0.5985 | 0 | 160 | 0.97744
| 170000 | 170000 | 2024-11-19 09:17 | 0.584 | 0 | 0.5984 | 0 | 170 | 0.97594
| 180000 | 180000 | 2024-11-19 09:18 | 0.583 | 0 | 0.5983 | 0 | 180 | 0.97443
| 190000 | 190000 | 2024-11-19 09:19 | 0.582 | 0 | 0.5982 | 0 | 190 | 0.97292
| 200000 | 200000 | 2024-11-19 09:19 | 0.581 | 0 | 0.5981 | 0 | 200 | 0.97141
| 210000 | 210000 | 2024-11-19 09:20 | 0.58 | 0 | 0.598 | 0 | 210 | 0.9699
| 220000 | 220000 | 2024-11-19 09:21 | 0.579 | 0 | 0.5979 | 0 | 220 | 0.96839
| 230000 | 230000 | 2024-11-19 09:22 | 0.578 | 0 | 0.5978 | 0 | 230 | 0.96688
| 240000 | 240000 | 2024-11-19 09:22 | 0.577 | 0 | 0.5977 | 0 | 240 | 0.96537
| 250000 | 250000 | 2024-11-19 09:23 | 0.576 | 0 | 0.5976 | 0 | 250 | 0.96386
| 260000 | 260000 | 2024-11-19 09:24 | 0.575 | 0 | 0.5975 | 0 | 260 | 0.96234
| 270000 | 270000 | 2024-11-19 09:24 | 0.574 | 0 | 0.5974 | 0 | 270 | 0.96083
| 280000 | 280000 | 2024-11-19 09:25 | 0.573 | 0 | 0.5973 | 0 | 280 | 0.95932
| 290000 | 290000 | 2024-11-19 09:26 | 0.572 | 0 | 0.5972 | 0 | 290 | 0.9578
| 300000 | 300000 | 2024-11-19 09:27 | 0.571 | 0 | 0.5971 | 0 | 300 | 0.95629
| 310000 | 310000 | 2024-11-19 09:27 | 0.57 | 0 | 0.597 | 0 | 310 | 0.95477
| 320000 | 320000 | 2024-11-19 09:28 | 0.569 | 0 | 0.5969 | 0 | 320 | 0.95326
| 330000 | 330000 | 2024-11-19 09:29 | 0.568 | 0 | 0.5968 | 0 | 330 | 0.95174
| 340000 | 340000 | 2024-11-19 09:30 | 0.567 | 0 | 0.5967 | 0 | 340 | 0.95023
| 350000 | 350000 | 2024-11-19 09:30 | 0.566 | 0 | 0.5966 | 0 | 350 | 0.94871
| 360000 | 360000 | 2024-11-19 09:31 | 0.565 | 0 | 0.5965 | 0 | 360 | 0.94719
| 370000 | 370000 | 2024-11-19 09:32 | 0.564 | 0 | 0.5964 | 0 | 370 | 0.94567
| 380000 | 380000 | 2024-11-19 09:33 | 0.563 | 0 | 0.5963 | 0 | 380 | 0.94416
| 390000 | 390000 | 2024-11-19 09:33 | 0.562 | 0 | 0.5962 | 0 | 390 | 0.94264
| 400000 | 400000 | 2024-11-19 09:34 | 0.561 | 0 | 0.5961 | 0 | 400 | 0.94112
| 410000 | 410000 | 2024-11-19 09:35 | 0.56 | 0 | 0.596 | 0 | 410 | 0.9396
| 420000 | 420000 | 2024-11-19 09:36 | 0.559 | 0 | 0.5959 | 0 | 420 | 0.93808
| 430000 | 430000 | 2024-11-19 09:36 | 0.558 | 0 | 0.5958 | 0 | 430 | 0.93656
| 440000 | 440000 | 2024-11-19 09:37 | 0.557 | 0 | 0.5957 | 0 | 440 | 0.93503
| 450000 | 450000 | 2024-11-19 09:38 | 0.556 | 0 | 0.5956 | 0 | 450 | 0.93351
| 460000 | 460000 | 2024-11-19 09:38 | 0.555 | 0 | 0.5955 | 0 | 460 | 0.93199
| 470000 | 470000 | 2024-11-19 09:39 | 0.554 | 0 | 0.5954 | 0 | 470 | 0.93047
| 480000 | 480000 | 2024-11-19 09:40 | 0.553 | 0 | 0.5953 | 0 | 480 | 0.92894
| 490000 | 490000 | 2024-11-19 09:41 | 0.552 | 0 | 0.5952 | 0 | 490 | 0.92742
| 500000 | 500000 | 2024-11-19 09:41 | 0.551 | 0 | 0.5951 | 0 | 500 | 0.92589
| 510000 | 510000 | 2024-11-19 09:42 | 0.55 | 0 | 0.595 | 0 | 510 | 0.92437
| 520000 | 520000 | 2024-11-19 09:43 | 0.549 | 0 | 0.5949 | 0 | 520 | 0.92284
| 530000 | 530000 | 2024-11-19 09:44 | 0.548 | 0 | 0.5948 | 0 | 530 | 0.92132
| 540000 | 540000 | 2024-11-19 09:44 | 0.547 | 0 | 0.5947 | 0 | 540 | 0.91979
| 550000 | 550000 | 2024-11-19 09:45 | 0.546 | 0 | 0.5946 | 0 | 550 | 0.91826
| 560000 | 560000 | 2024-11-19 09:46 | 0.545 | 0 | 0.5945 | 0 | 560 | 0.91674
| 570000 | 570000 | 2024-11-19 09:47 | 0.544 | 0 | 0.5944 | 0 | 570 | 0.91521
| 580000 | 580000 | 2024-11-19 09:47 | 0.543 | 0 | 0.5943 | 0 | 580 | 0.91368
| 590000 | 590000 | 2024-11-19 09:48 | 0.542 | 0 | 0.5942 | 0 | 590 | 0.91215
| 600000 | 600000 | 2024-11-19 09:49 | 0.541 | 0 | 0.5941 | 0 | 600 | 0.91062
| 610000 | 610000 | 2024-11-19 09:50 | 0.54 | 0 | 0.594 | 0 | 610 | 0.90909
| 620000 | 620000 | 2024-11-19 09:50 | 0.539 | 0 | 0.5939 | 0 | 620 | 0.90756
| 630000 | 630000 | 2024-11-19 09:51 | 0.538 | 0 | 0.5938 | 0 | 630 | 0.90603
| 640000 | 640000 | 2024-11-19 09:52 | 0.537 | 0 | 0.5937 | 0 | 640 | 0.9045
| 650000 | 650000 | 2024-11-19 09:52 | 0.536 | 0 | 0.5936 | 0 | 650 | 0.90296
| 660000 | 660000 | 2024-11-19 09:53 | 0.535 | 0 | 0.5935 | 0 | 660 | 0.90143
| 670000 | 670000 | 2024-11-19 09:54 | 0.534 | 0 | 0.5934 | 0 | 670 | 0.8999
| 680000 | 680000 | 2024-11-19 09:55 | 0.533 | 0 | 0.5933 | 0 | 680 | 0.89837
| 690000 | 690000 | 2024-11-19 09:55 | 0.532 | 0 | 0.5932 | 0 | 690 | 0.89683
| 700000 | 700000 | 2024-11-19 09:56 | 0.531 | 0 | 0.5931 | 0 | 700 | 0.8953
| 710000 | 710000 | 2024-11-19 09:57 | 0.53 | 0 | 0.593 | 0 | 710 | 0.89376
| 720000 | 720000 | 2024-11-19 09:58 | 0.529 | 0 | 0.5929 | 0 | 720 | 0.89222
| 730000 | 730000 | 2024-11-19 09:58 | 0.528 | 0 | 0.5928 | 0 | 730 | 0.89069
| 740000 | 740000 | 2024-11-19 09:59 | 0.527 | 0 | 0.5927 | 0 | 740 | 0.88915
| 750000 | 750000 | 2024-11-19 10:00 | 0.526 | 0 | 0.5926 | 0 | 750 | 0.88761
| 760000 | 760000 | 2024-11-19 10:01 | 0.525 | 0 | 0.5925 | 0 | 760 | 0.88608
| 770000 | 770000 | 2024-11-19 10:01 | 0.524 | 0 | 0.5924 | 0 | 770 | 0.88454
| 780000 | 780000 | 2024-11-19 10:02 | 0.523 | 0 | 0.5923 | 0 | 780 | 0.883
| 790000 | 790000 | 2024-11-19 10:03 | 0.522 | 0 | 0.5922 | 0 | 790 | 0.88146
| 800000 | 800000 | 2024-11-19 10:04 | 0.521 | 0 | 0.5921 | 0 | 800 | 0.87992
| 810000 | 810000 | 2024-11-19 10:04 | 0.52 | 0 | 0.592 | 0 | 810 | 0.87838
| 820000 | 820000 | 2024-11-19 10:05 | 0.519 | 0 | 0.5919 | 0 | 820 | 0.87684
| 830000 | 830000 | 2024-11-19 10:06 | 0.518 | 0 | 0.5918 | 0 | 830 | 0.8753
| 840000 | 840000 | 2024-11-19 10:07 | 0.517 | 0 | 0.5917 | 0 | 840 | 0.87375
| 850000 | 850000 | 2024-11-19 10:07 | 0.516 | 0 | 0.5916 | 0 | 850 | 0.87221
| 860000 | 860000 | 2024-11-19 10:08 | 0.515 | 0 | 0.5915 | 0 | 860 | 0.87067
| 870000 | 870000 | 2024-11-19 10:09 | 0.514 | 0 | 0.5914 | 0 | 870 | 0.86912
| 880000 | 880000 | 2024-11-19 10:09 | 0.513 | 0 | 0.5913 | 0 | 880 | 0.86758
| 890000 | 890000 | 2024-11-19 10:10 | 0.512 | 0 | 0.5912 | 0 | 890 | 0.86604
| 900000 | 900000 | 2024-11-19 10:11 | 0.511 | 0 | 0.5911 | 0 | 900 | 0.86449
| 910000 | 910000 | 2024-11-19 10:12 | 0.51 | 0 | 0.591 | 0 | 910 | 0.86294
| 920000 | 920000 | 2024-11-19 10:12 | 0.509 | 0 | 0.5909 | 0 | 920 | 0.8614
| 930000 | 930000 | 2024-11-19 10:13 | 0.508 | 0 | 0.5908 | 0 | 930 | 0.85985
| 940000 | 940000 | 2024-11-19 10:14 | 0.507 | 0 | 0.5907 | 0 | 940 | 0.8583
| 950000 | 950000 | 2024-11-19 10:15 | 0.506 | 0 | 0.5906 | 0 | 950 | 0.85676
| 960000 | 960000 | 2024-11-19 10:15 | 0.505 | 0 | 0.5905 | 0 | 960 | 0.85521
| 970000 | 970000 | 2024-11-19 10:16 | 0.504 | 0 | 0.5904 | 0 | 970 | 0.85366
| 980000 | 980000 | 2024-11-19 10:17 | 0.503 | 0 | 0.5903 | 0 | 980 | 0.85211
| 990000 | 990000 | 2024-11-19 10:18 | 0.502 | 0 | 0.5902 | 0 | 990 | 0.85056
| 1000000 | 1000000 | 2024-11-19 10:18 | 0.501 | 0 | 0.5901 | 0 | 1000 | 0.84901
| 1010000 | 1010000 | 2024-11-19 10:19 | 0.5 | 0 | 0.59 | 0 | 1010 | 0.84746
| 1020000 | 1020000 | 2024-11-19 10:20 | 0.499 | 0 | 0.5899 | 0 | 1020 | 0.84591
| 1030000 | 1030000 | 2024-11-19 10:21 | 0.498 | 0 | 0.5898 | 0 | 1030 | 0.84435
| 1040000 | 1040000 | 2024-11-19 10:21 | 0.497 | 0 | 0.5897 | 0 | 1040 | 0.8428
| 1050000 | 1050000 | 2024-11-19 10:22 | 0.496 | 0 | 0.5896 | 0 | 1050 | 0.84125
| 1060000 | 1060000 | 2024-11-19 10:23 | 0.495 | 0 | 0.5895 | 0 | 1060 | 0.83969
| 1070000 | 1070000 | 2024-11-19 10:23 | 0.494 | 0 | 0.5894 | 0 | 1070 | 0.83814
| 1080000 | 1080000 | 2024-11-19 10:24 | 0.493 | 0 | 0.5893 | 0 | 1080 | 0.83659
| 1090000 | 1090000 | 2024-11-19 10:25 | 0.492 | 0 | 0.5892 | 0 | 1090 | 0.83503
| 1100000 | 1100000 | 2024-11-19 10:26 | 0.491 | 0 | 0.5891 | 0 | 1100 | 0.83347
| 1110000 | 1110000 | 2024-11-19 10:26 | 0.49 | 0 | 0.589 | 0 | 1110 | 0.83192
| 1120000 | 1120000 | 2024-11-19 10:27 | 0.489 | 0 | 0.5889 | 0 | 1120 | 0.83036
| 1130000 | 1130000 | 2024-11-19 10:28 | 0.488 | 0 | 0.5888 | 0 | 1130 | 0.8288
| 1140000 | 1140000 | 2024-11-19 10:29 | 0.487 | 0 | 0.5887 | 0 | 1140 | 0.82725
| 1150000 | 1150000 | 2024-11-19 10:29 | 0.486 | 0 | 0.5886 | 0 | 1150 | 0.82569
| 1160000 | 1160000 | 2024-11-19 10:30 | 0.485 | 0 | 0.5885 | 0 | 1160 | 0.82413
| 1170000 | 1170000 | 2024-11-19 10:31 | 0.484 | 0 | 0.5884 | 0 | 1170 | 0.82257
| 1180000 | 1180000 | 2024-11-19 10:32 | 0.483 | 0 | 0.5883 | 0 | 1180 | 0.82101
| 1190000 | 1190000 | 2024-11-19 10:32 | 0.482 | 0 | 0.5882 | 0 | 1190 | 0.81945
| 1200000 | 1200000 | 2024-11-19 10:33 | 0.481 | 0 | 0.5881 | 0 | 1200 | 0.81789
| 1210000 | 1210000 | 2024-11-19 10:34 | 0.48 | 0 | 0.588 | 0 | 1210 | 0.81633
| 1220000 | 1220000 | 2024-11-19 10:35 | 0.479 | 0 | 0.5879 | 0 | 1220 | 0.81476
| 1230000 | 1230000 | 2024-11-19 10:35 | 0.478 | 0 | 0.5878 | 0 | 1230 | 0.8132
| 1240000 | 1240000 | 2024-11-19 10:36 | 0.477 | 0 | 0.5877 | 0 | 1240 | 0.81164
| 1250000 | 1250000 | 2024-11-19 10:37 | 0.476 | 0 | 0.5876 | 0 | 1250 | 0.81007
| 1260000 | 1260000 | 2024-11-19 10:38 | 0.475 | 0 | 0.5875 | 0 | 1260 | 0.80851
| 1270000 | 1270000 | 2024-11-19 10:38 | 0.474 | 0 | 0.5874 | 0 | 1270 | 0.80695
| 1280000 | 1280000 | 2024-11-19 10:39 | 0.473 | 0 | 0.5873 | 0 | 1280 | 0.80538
| 1290000 | 1290000 | 2024-11-19 10:40 | 0.472 | 0 | 0.5872 | 0 | 1290 | 0.80381
| 1300000 | 1300000 | 2024-11-19 10:41 | 0.471 | 0 | 0.5871 | 0 | 1300 | 0.80225
| 1310000 | 1310000 | 2024-11-19 10:41 | 0.47 | 0 | 0.587 | 0 | 1310 | 0.80068
| 1320000 | 1320000 | 2024-11-19 10:42 | 0.469 | 0 | 0.5869 | 0 | 1320 | 0.79911
| 1330000 | 1330000 | 2024-11-19 10:43 | 0.468 | 0 | 0.5868 | 0 | 1330 | 0.79755
| 1340000 | 1340000 | 2024-11-19 10:43 | 0.467 | 0 | 0.5867 | 0 | 1340 | 0.79598
| 1350000 | 1350000 | 2024-11-19 10:44 | 0.466 | 0 | 0.5866 | 0 | 1350 | 0.79441
| 1360000 | 1360000 | 2024-11-19 10:45 | 0.465 | 0 | 0.5865 | 0 | 1360 | 0.79284
| 1370000 | 1370000 | 2024-11-19 10:46 | 0.464 | 0 | 0.5864 | 0 | 1370 | 0.79127
| 1380000 | 1380000 | 2024-11-19 10:46 | 0.463 | 0 | 0.5863 | 0 | 1380 | 0.7897
| 1390000 | 1390000 | 2024-11-19 10:47 | 0.462 | 0 | 0.5862 | 0 | 1390 | 0.78813
| 1400000 | 1400000 | 2024-11-19 10:48 | 0.461 | 0 | 0.5861 | 0 | 1400 | 0.78656
| 1410000 | 1410000 | 2024-11-19 10:49 | 0.46 | 0 | 0.586 | 0 | 1410 | 0.78498
| 1420000 | 1420000 | 2024-11-19 10:49 | 0.459 | 0 | 0.5859 | 0 | 1420 | 0.78341
| 1430000 | 1430000 | 2024-11-19 10:50 | 0.458 | 0 | 0.5858 | 0 | 1430 | 0.78184
| 1440000 | 1440000 | 2024-11-19 10:51 | 0.457 | 0 | 0.5857 | 0 | 1440 | 0.78026
| 1450000 | 1450000 | 2024-11-19 10:52 | 0.456 | 0 | 0.5856 | 0 | 1450 | 0.77869
| 1460000 | 1460000 | 2024-11-19 10:52 | 0.455 | 0 | 0.5855 | 0 | 1460 | 0.77711
| 1470000 | 1470000 | 2024-11-19 10:53 | 0.454 | 0 | 0.5854 | 0 | 1470 | 0.77554
| 1480000 | 1480000 | 2024-11-19 10:54 | 0.453 | 0 | 0.5853 | 0 | 1480 | 0.77396
| 1490000 | 1490000 | 2024-11-19 10:55 | 0.452 | 0 | 0.5852 | 0 | 1490 | 0.77239
| 1500000 | 1500000 | 2024-11-19 10:55 | 0.451 | 0 | 0.5851 | 0 | 1500 | 0.77081
| 1510000 | 1510000 | 2024-11-19 10:56 | 0.45 | 0 | 0.585 | 0 | 1510 | 0.76923
| 1520000 | 1520000 | 2024-11-19 10:57 | 0.449 | 0 | 0.5849 | 0 | 1520 | 0.76765
| 1530000 | 1530000 | 2024-11-19 10:57 | 0.448 | 0 | 0.5848 | 0 | 1530 | 0.76607
| 1540000 | 1540000 | 2024-11-19 10:58 | 0.447 | 0 | 0.5847 | 0 | 1540 | 0.76449
| 1550000 | 1550000 | 2024-11-19 10:59 | 0.446 | 0 | 0.5846 | 0 | 1550 | 0.76291
| 1560000 | 1560000 | 2024-11-19 11:00 | 0.445 | 0 | 0.5845 | 0 | 1560 | 0.76133
| 1570000 | 1570000 | 2024-11-19 11:00 | 0.444 | 0 | 0.5844 | 0 | 1570 | 0.75975
| 1580000 | 1580000 | 2024-11-19 11:01 | 0.443 | 0 | 0.5843 | 0 | 1580 | 0.75817
| 1590000 | 1590000 | 2024-11-19 11:02 | 0.442 | 0 | 0.5842 | 0 | 1590 | 0.75659
| 1600000 | 1600000 | 2024-11-19 11:03 | 0.441 | 0 | 0.5841 | 0 | 1600 | 0.75501
| 1610000 | 1610000 | 2024-11-19 11:03 | 0.44 | 0 | 0.584 | 0 | 1610 | 0.75342
| 1620000 | 1620000 | 2024-11-19 11:04 | 0.439 | 0 | 0.5839 | 0 | 1620 | 0.75184
| 1630000 | 1630000 | 2024-11-19 11:05 | 0.438 | 0 | 0.5838 | 0 | 1630 | 0.75026
| 1640000 | 1640000 | 2024-11-19 11:06 | 0.437 | 0 | 0.5837 | 0 | 1640 | 0.74867
| 1650000 | 1650000 | 2024-11-19 11:06 | 0.436 | 0 | 0.5836 | 0 | 1650 | 0.74709
| 1660000 | 1660000 | 2024-11-19 11:07 | 0.435 | 0 | 0.5835 | 0 | 1660 | 0.7455
| 1670000 | 1670000 | 2024-11-19 11:08 | 0.434 | 0 | 0.5834 | 0 | 1670 | 0.74391
| 1680000 | 1680000 | 2024-11-19 11:09 | 0.433 | 0 | 0.5833 | 0 | 1680 | 0.74233
| 1690000 | 1690000 | 2024-11-19 11:09 | 0.432 | 0 | 0.5832 | 0 | 1690 | 0.74074
| 1700000 | 1700000 | 2024-11-19 11:10 | 0.431 | 0 | 0.5831 | 0 | 1700 | 0.73915
| 1710000 | 1710000 | 2024-11-19 11:11 | 0.43 | 0 | 0.583 | 0 | 1710 | 0.73756
| 1720000 | 1720000 | 2024-11-19 11:12 | 0.429 | 0 | 0.5829 | 0 | 1720 | 0.73598
| 1730000 | 1730000 | 2024-11-19 11:12 | 0.428 | 0 | 0.5828 | 0 | 1730 | 0.73439
| 1740000 | 1740000 | 2024-11-19 11:13 | 0.427 | 0 | 0.5827 | 0 | 1740 | 0.7328
| 1750000 | 1750000 | 2024-11-19 11:14 | 0.426 | 0 | 0.5826 | 0 | 1750 | 0.7312
| 1760000 | 1760000 | 2024-11-19 11:15 | 0.425 | 0 | 0.5825 | 0 | 1760 | 0.72961
| 1770000 | 1770000 | 2024-11-19 11:15 | 0.424 | 0 | 0.5824 | 0 | 1770 | 0.72802
| 1780000 | 1780000 | 2024-11-19 11:16 | 0.423 | 0 | 0.5823 | 0 | 1780 | 0.72643
| 1790000 | 1790000 | 2024-11-19 11:17 | 0.422 | 0 | 0.5822 | 0 | 1790 | 0.72484
| 1800000 | 1800000 | 2024-11-19 11:17 | 0.421 | 0 | 0.5821 | 0 | 1800 | 0.72324
| 1810000 | 1810000 | 2024-11-19 11:18 | 0.42 | 0 | 0.582 | 0 | 1810 | 0.72165
| 1820000 | 1820000 | 2024-11-19 11:19 | 0.419 | 0 | 0.5819 | 0 | 1820 | 0.72005
| 1830000 | 1830000 | 2024-11-19 11:20 | 0.418 | 0 | 0.5818 | 0 | 1830 | 0.71846
| 1840000 | 1840000 | 2024-11-19 11:20 | 0.417 | 0 | 0.5817 | 0 | 1840 | 0.71686
| 1850000 | 1850000 | 2024-11-19 11:21 | 0.416 | 0 | 0.5816 | 0 | 1850 | 0.71527
| 1860000 | 1860000 | 2024-11-19 11:22 | 0.415 | 0 | 0.5815 | 0 | 1860 | 0.71367
| 1870000 | 1870000 | 2024-11-19 11:23 | 0.414 | 0 | 0.5814 | 0 | 1870 | 0.71207
| 1880000 | 1880000 | 2024-11-19 11:23 | 0.413 | 0 | 0.5813 | 0 | 1880 | 0.71048
| 1890000 | 1890000 | 2024-11-19 11:24 | 0.412 | 0 | 0.5812 | 0 | 1890 | 0.70888
| 1900000 | 1900000 | 2024-11-19 11:25 | 0.411 | 0 | 0.5811 | 0 | 1900 | 0.70728
| 1910000 | 1910000 | 2024-11-19 11:26 | 0.41 | 0 | 0.581 | 0 | 1910 | 0.70568
| 1920000 | 1920000 | 2024-11-19 11:26 | 0.409 | 0 | 0.5809 | 0 | 1920 | 0.70408
| 1930000 | 1930000 | 2024-11-19 11:27 | 0.408 | 0 | 0.5808 | 0 | 1930 | 0.70248
| 1940000 | 1940000 | 2024-11-19 11:28 | 0.407 | 0 | 0.5807 | 0 | 1940 | 0.70088
| 1950000 | 1950000 | 2024-11-19 11:29 | 0.406 | 0 | 0.5806 | 0 | 1950 | 0.69928
| 1960000 | 1960000 | 2024-11-19 11:29 | 0.405 | 0 | 0.5805 | 0 | 1960 | 0.69767
| 1970000 | 1970000 | 2024-11-19 11:30 | 0.404 | 0 | 0.5804 | 0 | 1970 | 0.69607
| 1980000 | 1980000 | 2024-11-19 11:31 | 0.403 | 0 | 0.5803 | 0 | 1980 | 0.69447
| 1990000 | 1990000 | 2024-11-19 11:31 | 0.402 | 0 | 0.5802 | 0 | 1990 | 0.69286
| 2000000 | 2000000 | 2024-11-19 11:32 | 0.401 | 0 | 0.5801 | 0 | 2000 | 0.69126
| 2010000 | 2010000 | 2024-11-19 11:33 | 0.4 | 0 | 0.58 | 0 | 2010 | 0.68966
| 2020000 | 2020000 | 2024-11-19 11:34 | 0.399 | 0 | 0.5799 | 0 | 2020 | 0.68805
| 2030000 | 2030000 | 2024-11-19 11:34 | 0.398 | 0 | 0.5798 | 0 | 2030 | 0.68644
| 2040000 | 2040000 | 2024-11-19 11:35 | 0.397 | 0 | 0.5797 | 0 | 2040 | 0.68484
| 2050000 | 2050000 | 2024-11-19 11:36 | 0.396 | 0 | 0.5796 | 0 | 2050 | 0.68323
| 2060000 | 2060000 | 2024-11-19 11:37 | 0.395 | 0 | 0.5795 | 0 | 2060 | 0.68162
| 2070000 | 2070000 | 2024-11-19 11:37 | 0.394 | 0 | 0.5794 | 0 | 2070 | 0.68001
| 2080000 | 2080000 | 2024-11-19 11:38 | 0.393 | 0 | 0.5793 | 0 | 2080 | 0.6784
| 2090000 | 2090000 | 2024-11-19 11:39 | 0.392 | 0 | 0.5792 | 0 | 2090 | 0.6768
| 2100000 | 2100000 | 2024-11-19 11:40 | 0.391 | 0 | 0.5791 | 0 | 2100 | 0.67519
| 2110000 | 2110000 | 2024-11-19 11:40 | 0.39 | 0 | 0.579 | 0 | 2110 | 0.67358
| 2120000 | 2120000 | 2024-11-19 11:41 | 0.389 | 0 | 0.5789 | 0 | 2120 | 0.67196
| 2130000 | 2130000 | 2024-11-19 11:42 | 0.388 | 0 | 0.5788 | 0 | 2130 | 0.67035
| 2140000 | 2140000 | 2024-11-19 11:43 | 0.387 | 0 | 0.5787 | 0 | 2140 | 0.66874
| 2150000 | 2150000 | 2024-11-19 11:43 | 0.386 | 0 | 0.5786 | 0 | 2150 | 0.66713
| 2160000 | 2160000 | 2024-11-19 11:44 | 0.385 | 0 | 0.5785 | 0 | 2160 | 0.66551
| 2170000 | 2170000 | 2024-11-19 11:45 | 0.384 | 0 | 0.5784 | 0 | 2170 | 0.6639
| 2180000 | 2180000 | 2024-11-19 11:46 | 0.383 | 0 | 0.5783 | 0 | 2180 | 0.66229
| 2190000 | 2190000 | 2024-11-19 11:46 | 0.382 | 0 | 0.5782 | 0 | 2190 | 0.66067
| 2200000 | 2200000 | 2024-11-19 11:47 | 0.381 | 0 | 0.5781 | 0 | 2200 | 0.65906
| 2210000 | 2210000 | 2024-11-19 11:48 | 0.38 | 0 | 0.578 | 0 | 2210 | 0.65744
| 2220000 | 2220000 | 2024-11-19 11:48 | 0.379 | 0 | 0.5779 | 0 | 2220 | 0.65582
| 2230000 | 2230000 | 2024-11-19 11:49 | 0.378 | 0 | 0.5778 | 0 | 2230 | 0.65421
| 2240000 | 2240000 | 2024-11-19 11:50 | 0.377 | 0 | 0.5777 | 0 | 2240 | 0.65259
| 2250000 | 2250000 | 2024-11-19 11:51 | 0.376 | 0 | 0.5776 | 0 | 2250 | 0.65097
| 2260000 | 2260000 | 2024-11-19 11:51 | 0.375 | 0 | 0.5775 | 0 | 2260 | 0.64935
| 2270000 | 2270000 | 2024-11-19 11:52 | 0.374 | 0 | 0.5774 | 0 | 2270 | 0.64773
| 2280000 | 2280000 | 2024-11-19 11:53 | 0.373 | 0 | 0.5773 | 0 | 2280 | 0.64611
| 2290000 | 2290000 | 2024-11-19 11:54 | 0.372 | 0 | 0.5772 | 0 | 2290 | 0.64449
| 2300000 | 2300000 | 2024-11-19 11:54 | 0.371 | 0 | 0.5771 | 0 | 2300 | 0.64287
| 2310000 | 2310000 | 2024-11-19 11:55 | 0.37 | 0 | 0.577 | 0 | 2310 | 0.64125
| 2320000 | 2320000 | 2024-11-19 11:56 | 0.369 | 0 | 0.5769 | 0 | 2320 | 0.63963
| 2330000 | 2330000 | 2024-11-19 11:57 | 0.368 | 0 | 0.5768 | 0 | 2330 | 0.638
| 2340000 | 2340000 | 2024-11-19 11:57 | 0.367 | 0 | 0.5767 | 0 | 2340 | 0.63638
| 2350000 | 2350000 | 2024-11-19 11:58 | 0.366 | 0 | 0.5766 | 0 | 2350 | 0.63476
| 2360000 | 2360000 | 2024-11-19 11:59 | 0.365 | 0 | 0.5765 | 0 | 2360 | 0.63313
| 2370000 | 2370000 | 2024-11-19 11:59 | 0.364 | 0 | 0.5764 | 0 | 2370 | 0.63151
| 2380000 | 2380000 | 2024-11-19 12:00 | 0.363 | 0 | 0.5763 | 0 | 2380 | 0.62988
| 2390000 | 2390000 | 2024-11-19 12:01 | 0.362 | 0 | 0.5762 | 0 | 2390 | 0.62825
| 2400000 | 2400000 | 2024-11-19 12:02 | 0.361 | 0 | 0.5761 | 0 | 2400 | 0.62663
| 2410000 | 2410000 | 2024-11-19 12:02 | 0.36 | 0 | 0.576 | 0 | 2410 | 0.625
| 2420000 | 2420000 | 2024-11-19 12:03 | 0.359 | 0 | 0.5759 | 0 | 2420 | 0.62337
| 2430000 | 2430000 | 2024-11-19 12:04 | 0.358 | 0 | 0.5758 | 0 | 2430 | 0.62174
| 2440000 | 2440000 | 2024-11-19 12:05 | 0.357 | 0 | 0.5757 | 0 | 2440 | 0.62011
| 2450000 | 2450000 | 2024-11-19 12:05 | 0.356 | 0 | 0.5756 | 0 | 2450 | 0.61849
| 2460000 | 2460000 | 2024-11-19 12:06 | 0.355 | 0 | 0.5755 | 0 | 2460 | 0.61685
| 2470000 | 2470000 | 2024-11-19 12:07 | 0.354 | 0 | 0.5754 | 0 | 2470 | 0.61522
| 2480000 | 2480000 | 2024-11-19 12:08 | 0.353 | 0 | 0.5753 | 0 | 2480 | 0.61359
| 2490000 | 2490000 | 2024-11-19 12:08 | 0.352 | 0 | 0.5752 | 0 | 2490 | 0.61196
| 2500000 | 2500000 | 2024-11-19 12:09 | 0.351 | 0 | 0.5751 | 0 | 2500 | 0.61033
| 2510000 | 2510000 | 2024-11-19 12:10 | 0.35 | 0 | 0.575 | 0 | 2510 | 0.6087
| 2520000 | 2520000 | 2024-11-19 12:11 | 0.349 | 0 | 0.5749 | 0 | 2520 | 0.60706
| 2530000 | 2530000 | 2024-11-19 12:11 | 0.348 | 0 | 0.5748 | 0 | 2530 | 0.60543
| 2540000 | 2540000 | 2024-11-19 12:12 | 0.347 | 0 | 0.5747 | 0 | 2540 | 0.60379
| 2550000 | 2550000 | 2024-11-19 12:13 | 0.346 | 0 | 0.5746 | 0 | 2550 | 0.60216
| 2560000 | 2560000 | 2024-11-19 12:14 | 0.345 | 0 | 0.5745 | 0 | 2560 | 0.60052
| 2570000 | 2570000 | 2024-11-19 12:14 | 0.344 | 0 | 0.5744 | 0 | 2570 | 0.59889
| 2580000 | 2580000 | 2024-11-19 12:15 | 0.343 | 0 | 0.5743 | 0 | 2580 | 0.59725
| 2590000 | 2590000 | 2024-11-19 12:16 | 0.342 | 0 | 0.5742 | 0 | 2590 | 0.59561
| 2600000 | 2600000 | 2024-11-19 12:16 | 0.341 | 0 | 0.5741 | 0 | 2600 | 0.59397
| 2610000 | 2610000 | 2024-11-19 12:17 | 0.34 | 0 | 0.574 | 0 | 2610 | 0.59233
| 2620000 | 2620000 | 2024-11-19 12:18 | 0.339 | 0 | 0.5739 | 0 | 2620 | 0.5907
| 2630000 | 2630000 | 2024-11-19 12:19 | 0.338 | 0 | 0.5738 | 0 | 2630 | 0.58906
| 2640000 | 2640000 | 2024-11-19 12:19 | 0.337 | 0 | 0.5737 | 0 | 2640 | 0.58742
| 2650000 | 2650000 | 2024-11-19 12:20 | 0.336 | 0 | 0.5736 | 0 | 2650 | 0.58577
| 2660000 | 2660000 | 2024-11-19 12:21 | 0.335 | 0 | 0.5735 | 0 | 2660 | 0.58413
| 2670000 | 2670000 | 2024-11-19 12:22 | 0.334 | 0 | 0.5734 | 0 | 2670 | 0.58249
| 2680000 | 2680000 | 2024-11-19 12:22 | 0.333 | 0 | 0.5733 | 0 | 2680 | 0.58085
| 2690000 | 2690000 | 2024-11-19 12:23 | 0.332 | 0 | 0.5732 | 0 | 2690 | 0.5792
| 2700000 | 2700000 | 2024-11-19 12:24 | 0.331 | 0 | 0.5731 | 0 | 2700 | 0.57756
| 2710000 | 2710000 | 2024-11-19 12:25 | 0.33 | 0 | 0.573 | 0 | 2710 | 0.57592
| 2720000 | 2720000 | 2024-11-19 12:25 | 0.329 | 0 | 0.5729 | 0 | 2720 | 0.57427
| 2730000 | 2730000 | 2024-11-19 12:26 | 0.328 | 0 | 0.5728 | 0 | 2730 | 0.57263
| 2740000 | 2740000 | 2024-11-19 12:27 | 0.327 | 0 | 0.5727 | 0 | 2740 | 0.57098
| 2750000 | 2750000 | 2024-11-19 12:27 | 0.326 | 0 | 0.5726 | 0 | 2750 | 0.56933
| 2760000 | 2760000 | 2024-11-19 12:28 | 0.325 | 0 | 0.5725 | 0 | 2760 | 0.56769
| 2770000 | 2770000 | 2024-11-19 12:29 | 0.324 | 0 | 0.5724 | 0 | 2770 | 0.56604
| 2780000 | 2780000 | 2024-11-19 12:30 | 0.323 | 0 | 0.5723 | 0 | 2780 | 0.56439
| 2790000 | 2790000 | 2024-11-19 12:30 | 0.322 | 0 | 0.5722 | 0 | 2790 | 0.56274
| 2800000 | 2800000 | 2024-11-19 12:31 | 0.321 | 0 | 0.5721 | 0 | 2800 | 0.56109
| 2810000 | 2810000 | 2024-11-19 12:32 | 0.32 | 0 | 0.572 | 0 | 2810 | 0.55944
| 2820000 | 2820000 | 2024-11-19 12:33 | 0.319 | 0 | 0.5719 | 0 | 2820 | 0.55779
| 2830000 | 2830000 | 2024-11-19 12:33 | 0.318 | 0 | 0.5718 | 0 | 2830 | 0.55614
| 2840000 | 2840000 | 2024-11-19 12:34 | 0.317 | 0 | 0.5717 | 0 | 2840 | 0.55449
| 2850000 | 2850000 | 2024-11-19 12:35 | 0.316 | 0 | 0.5716 | 0 | 2850 | 0.55283
| 2860000 | 2860000 | 2024-11-19 12:36 | 0.315 | 0 | 0.5715 | 0 | 2860 | 0.55118
| 2870000 | 2870000 | 2024-11-19 12:36 | 0.314 | 0 | 0.5714 | 0 | 2870 | 0.54953
| 2880000 | 2880000 | 2024-11-19 12:37 | 0.313 | 0 | 0.5713 | 0 | 2880 | 0.54787
| 2890000 | 2890000 | 2024-11-19 12:38 | 0.312 | 0 | 0.5712 | 0 | 2890 | 0.54622
| 2900000 | 2900000 | 2024-11-19 12:39 | 0.311 | 0 | 0.5711 | 0 | 2900 | 0.54456
| 2910000 | 2910000 | 2024-11-19 12:39 | 0.31 | 0 | 0.571 | 0 | 2910 | 0.54291
| 2920000 | 2920000 | 2024-11-19 12:40 | 0.309 | 0 | 0.5709 | 0 | 2920 | 0.54125
| 2930000 | 2930000 | 2024-11-19 12:41 | 0.308 | 0 | 0.5708 | 0 | 2930 | 0.53959
| 2940000 | 2940000 | 2024-11-19 12:42 | 0.307 | 0 | 0.5707 | 0 | 2940 | 0.53794
| 2950000 | 2950000 | 2024-11-19 12:42 | 0.306 | 0 | 0.5706 | 0 | 2950 | 0.53628
| 2960000 | 2960000 | 2024-11-19 12:43 | 0.305 | 0 | 0.5705 | 0 | 2960 | 0.53462
| 2970000 | 2970000 | 2024-11-19 12:44 | 0.304 | 0 | 0.5704 | 0 | 2970 | 0.53296
| 2980000 | 2980000 | 2024-11-19 12:44 | 0.303 | 0 | 0.5703 | 0 | 2980 | 0.5313
| 2990000 | 2990000 | 2024-11-19 12:45 | 0.302 | 0 | 0.5702 | 0 | 2990 | 0.52964
| 3000000 | 3000000 | 2024-11-19 12:46 | 0.301 | 0 | 0.5701 | 0 | 3000 | 0.52798
| 3010000 | 3010000 | 2024-11-19 12:47 | 0.3 | 0 | 0.57 | 0 | 3010 | 0.52632
| 3020000 | 3020000 | 2024-11-19 12:47 | 0.299 | 0 | 0.5699 | 0 | 3020 | 0.52465
| 3030000 | 3030000 | 2024-11-19 12:48 | 0.298 | 0 | 0.5698 | 0 | 3030 | 0.52299
| 3040000 | 3040000 | 2024-11-19 12:49 | 0.297 | 0 | 0.5697 | 0 | 3040 | 0.52133
| 3050000 | 3050000 | 2024-11-19 12:50 | 0.296 | 0 | 0.5696 | 0 | 3050 | 0.51966
| 3060000 | 3060000 | 2024-11-19 12:50 | 0.295 | 0 | 0.5695 | 0 | 3060 | 0.518
| 3070000 | 3070000 | 2024-11-19 12:51 | 0.294 | 0 | 0.5694 | 0 | 3070 | 0.51633
| 3080000 | 3080000 | 2024-11-19 12:52 | 0.293 | 0 | 0.5693 | 0 | 3080 | 0.51467
| 3090000 | 3090000 | 2024-11-19 12:53 | 0.292 | 0 | 0.5692 | 0 | 3090 | 0.513
| 3100000 | 3100000 | 2024-11-19 12:53 | 0.291 | 0 | 0.5691 | 0 | 3100 | 0.51133
| 3110000 | 3110000 | 2024-11-19 12:54 | 0.29 | 0 | 0.569 | 0 | 3110 | 0.50967
| 3120000 | 3120000 | 2024-11-19 12:55 | 0.289 | 0 | 0.5689 | 0 | 3120 | 0.508
| 3130000 | 3130000 | 2024-11-19 12:56 | 0.288 | 0 | 0.5688 | 0 | 3130 | 0.50633
| 3140000 | 3140000 | 2024-11-19 12:56 | 0.287 | 0 | 0.5687 | 0 | 3140 | 0.50466
| 3150000 | 3150000 | 2024-11-19 12:57 | 0.286 | 0 | 0.5686 | 0 | 3150 | 0.50299
| 3160000 | 3160000 | 2024-11-19 12:58 | 0.285 | 0 | 0.5685 | 0 | 3160 | 0.50132
| 3170000 | 3170000 | 2024-11-19 12:58 | 0.284 | 0 | 0.5684 | 0 | 3170 | 0.49965
| 3180000 | 3180000 | 2024-11-19 12:59 | 0.283 | 0 | 0.5683 | 0 | 3180 | 0.49798
| 3190000 | 3190000 | 2024-11-19 13:00 | 0.282 | 0 | 0.5682 | 0 | 3190 | 0.4963
| 3200000 | 3200000 | 2024-11-19 13:01 | 0.281 | 0 | 0.5681 | 0 | 3200 | 0.49463
| 3210000 | 3210000 | 2024-11-19 13:01 | 0.28 | 0 | 0.568 | 0 | 3210 | 0.49296
| 3220000 | 3220000 | 2024-11-19 13:02 | 0.279 | 0 | 0.5679 | 0 | 3220 | 0.49128
| 3230000 | 3230000 | 2024-11-19 13:03 | 0.278 | 0 | 0.5678 | 0 | 3230 | 0.48961
| 3240000 | 3240000 | 2024-11-19 13:04 | 0.277 | 0 | 0.5677 | 0 | 3240 | 0.48793
| 3250000 | 3250000 | 2024-11-19 13:04 | 0.276 | 0 | 0.5676 | 0 | 3250 | 0.48626
| 3260000 | 3260000 | 2024-11-19 13:05 | 0.275 | 0 | 0.5675 | 0 | 3260 | 0.48458
| 3270000 | 3270000 | 2024-11-19 13:06 | 0.274 | 0 | 0.5674 | 0 | 3270 | 0.4829
| 3280000 | 3280000 | 2024-11-19 13:07 | 0.273 | 0 | 0.5673 | 0 | 3280 | 0.48123
| 3290000 | 3290000 | 2024-11-19 13:07 | 0.272 | 0 | 0.5672 | 0 | 3290 | 0.47955
| 3300000 | 3300000 | 2024-11-19 13:08 | 0.271 | 0 | 0.5671 | 0 | 3300 | 0.47787
| 3310000 | 3310000 | 2024-11-19 13:09 | 0.27 | 0 | 0.567 | 0 | 3310 | 0.47619
| 3320000 | 3320000 | 2024-11-19 13:10 | 0.269 | 0 | 0.5669 | 0 | 3320 | 0.47451
| 3330000 | 3330000 | 2024-11-19 13:10 | 0.268 | 0 | 0.5668 | 0 | 3330 | 0.47283
| 3340000 | 3340000 | 2024-11-19 13:11 | 0.267 | 0 | 0.5667 | 0 | 3340 | 0.47115
| 3350000 | 3350000 | 2024-11-19 13:12 | 0.266 | 0 | 0.5666 | 0 | 3350 | 0.46947
| 3360000 | 3360000 | 2024-11-19 13:13 | 0.265 | 0 | 0.5665 | 0 | 3360 | 0.46778
| 3370000 | 3370000 | 2024-11-19 13:13 | 0.264 | 0 | 0.5664 | 0 | 3370 | 0.4661
| 3380000 | 3380000 | 2024-11-19 13:14 | 0.263 | 0 | 0.5663 | 0 | 3380 | 0.46442
| 3390000 | 3390000 | 2024-11-19 13:15 | 0.262 | 0 | 0.5662 | 0 | 3390 | 0.46273
| 3400000 | 3400000 | 2024-11-19 13:16 | 0.261 | 0 | 0.5661 | 0 | 3400 | 0.46105
| 3410000 | 3410000 | 2024-11-19 13:16 | 0.26 | 0 | 0.566 | 0 | 3410 | 0.45936
| 3420000 | 3420000 | 2024-11-19 13:17 | 0.259 | 0 | 0.5659 | 0 | 3420 | 0.45768
| 3430000 | 3430000 | 2024-11-19 13:18 | 0.258 | 0 | 0.5658 | 0 | 3430 | 0.45599
| 3440000 | 3440000 | 2024-11-19 13:18 | 0.257 | 0 | 0.5657 | 0 | 3440 | 0.4543
| 3450000 | 3450000 | 2024-11-19 13:19 | 0.256 | 0 | 0.5656 | 0 | 3450 | 0.45262
| 3460000 | 3460000 | 2024-11-19 13:20 | 0.255 | 0 | 0.5655 | 0 | 3460 | 0.45093
| 3470000 | 3470000 | 2024-11-19 13:21 | 0.254 | 0 | 0.5654 | 0 | 3470 | 0.44924
| 3480000 | 3480000 | 2024-11-19 13:21 | 0.253 | 0 | 0.5653 | 0 | 3480 | 0.44755
| 3490000 | 3490000 | 2024-11-19 13:22 | 0.252 | 0 | 0.5652 | 0 | 3490 | 0.44586
| 3500000 | 3500000 | 2024-11-19 13:23 | 0.251 | 0 | 0.5651 | 0 | 3500 | 0.44417
| 3510000 | 3510000 | 2024-11-19 13:24 | 0.25 | 0 | 0.565 | 0 | 3510 | 0.44248
| 3520000 | 3520000 | 2024-11-19 13:24 | 0.249 | 0 | 0.5649 | 0 | 3520 | 0.44079
| 3530000 | 3530000 | 2024-11-19 13:25 | 0.248 | 0 | 0.5648 | 0 | 3530 | 0.43909
| 3540000 | 3540000 | 2024-11-19 13:26 | 0.247 | 0 | 0.5647 | 0 | 3540 | 0.4374
| 3550000 | 3550000 | 2024-11-19 13:26 | 0.246 | 0 | 0.5646 | 0 | 3550 | 0.43571
| 3560000 | 3560000 | 2024-11-19 13:27 | 0.245 | 0 | 0.5645 | 0 | 3560 | 0.43401
| 3570000 | 3570000 | 2024-11-19 13:28 | 0.244 | 0 | 0.5644 | 0 | 3570 | 0.43232
| 3580000 | 3580000 | 2024-11-19 13:29 | 0.243 | 0 | 0.5643 | 0 | 3580 | 0.43062
| 3590000 | 3590000 | 2024-11-19 13:29 | 0.242 | 0 | 0.5642 | 0 | 3590 | 0.42893
| 3600000 | 3600000 | 2024-11-19 13:30 | 0.241 | 0 | 0.5641 | 0 | 3600 | 0.42723
| 3610000 | 3610000 | 2024-11-19 13:31 | 0.24 | 0 | 0.564 | 0 | 3610 | 0.42553
| 3620000 | 3620000 | 2024-11-19 13:32 | 0.239 | 0 | 0.5639 | 0 | 3620 | 0.42383
| 3630000 | 3630000 | 2024-11-19 13:32 | 0.238 | 0 | 0.5638 | 0 | 3630 | 0.42214
| 3640000 | 3640000 | 2024-11-19 13:33 | 0.237 | 0 | 0.5637 | 0 | 3640 | 0.42044
| 3650000 | 3650000 | 2024-11-19 13:34 | 0.236 | 0 | 0.5636 | 0 | 3650 | 0.41874
| 3660000 | 3660000 | 2024-11-19 13:35 | 0.235 | 0 | 0.5635 | 0 | 3660 | 0.41704
| 3670000 | 3670000 | 2024-11-19 13:35 | 0.234 | 0 | 0.5634 | 0 | 3670 | 0.41534
| 3680000 | 3680000 | 2024-11-19 13:36 | 0.233 | 0 | 0.5633 | 0 | 3680 | 0.41363
| 3690000 | 3690000 | 2024-11-19 13:37 | 0.232 | 0 | 0.5632 | 0 | 3690 | 0.41193
| 3700000 | 3700000 | 2024-11-19 13:38 | 0.231 | 0 | 0.5631 | 0 | 3700 | 0.41023
| 3710000 | 3710000 | 2024-11-19 13:38 | 0.23 | 0 | 0.563 | 0 | 3710 | 0.40853
| 3720000 | 3720000 | 2024-11-19 13:39 | 0.229 | 0 | 0.5629 | 0 | 3720 | 0.40682
| 3730000 | 3730000 | 2024-11-19 13:40 | 0.228 | 0 | 0.5628 | 0 | 3730 | 0.40512
| 3740000 | 3740000 | 2024-11-19 13:41 | 0.227 | 0 | 0.5627 | 0 | 3740 | 0.40341
| 3750000 | 3750000 | 2024-11-19 13:41 | 0.226 | 0 | 0.5626 | 0 | 3750 | 0.40171
| 3760000 | 3760000 | 2024-11-19 13:42 | 0.225 | 0 | 0.5625 | 0 | 3760 | 0.4
| 3770000 | 3770000 | 2024-11-19 13:43 | 0.224 | 0 | 0.5624 | 0 | 3770 | 0.39829
| 3780000 | 3780000 | 2024-11-19 13:43 | 0.223 | 0 | 0.5623 | 0 | 3780 | 0.39659
| 3790000 | 3790000 | 2024-11-19 13:44 | 0.222 | 0 | 0.5622 | 0 | 3790 | 0.39488
| 3800000 | 3800000 | 2024-11-19 13:45 | 0.221 | 0 | 0.5621 | 0 | 3800 | 0.39317
| 3810000 | 3810000 | 2024-11-19 13:46 | 0.22 | 0 | 0.562 | 0 | 3810 | 0.39146
| 3820000 | 3820000 | 2024-11-19 13:46 | 0.219 | 0 | 0.5619 | 0 | 3820 | 0.38975
| 3830000 | 3830000 | 2024-11-19 13:47 | 0.218 | 0 | 0.5618 | 0 | 3830 | 0.38804
| 3840000 | 3840000 | 2024-11-19 13:48 | 0.217 | 0 | 0.5617 | 0 | 3840 | 0.38633
| 3850000 | 3850000 | 2024-11-19 13:49 | 0.216 | 0 | 0.5616 | 0 | 3850 | 0.38462
| 3860000 | 3860000 | 2024-11-19 13:49 | 0.215 | 0 | 0.5615 | 0 | 3860 | 0.3829
| 3870000 | 3870000 | 2024-11-19 13:50 | 0.214 | 0 | 0.5614 | 0 | 3870 | 0.38119
| 3880000 | 3880000 | 2024-11-19 13:51 | 0.213 | 0 | 0.5613 | 0 | 3880 | 0.37948
| 3890000 | 3890000 | 2024-11-19 13:52 | 0.212 | 0 | 0.5612 | 0 | 3890 | 0.37776
| 3900000 | 3900000 | 2024-11-19 13:52 | 0.211 | 0 | 0.5611 | 0 | 3900 | 0.37605
| 3910000 | 3910000 | 2024-11-19 13:53 | 0.21 | 0 | 0.561 | 0 | 3910 | 0.37433
| 3920000 | 3920000 | 2024-11-19 13:54 | 0.209 | 0 | 0.5609 | 0 | 3920 | 0.37262
| 3930000 | 3930000 | 2024-11-19 13:55 | 0.208 | 0 | 0.5608 | 0 | 3930 | 0.3709
| 3940000 | 3940000 | 2024-11-19 13:55 | 0.207 | 0 | 0.5607 | 0 | 3940 | 0.36918
| 3950000 | 3950000 | 2024-11-19 13:56 | 0.206 | 0 | 0.5606 | 0 | 3950 | 0.36746
| 3960000 | 3960000 | 2024-11-19 13:57 | 0.205 | 0 | 0.5605 | 0 | 3960 | 0.36574
| 3970000 | 3970000 | 2024-11-19 13:57 | 0.204 | 0 | 0.5604 | 0 | 3970 | 0.36403
| 3980000 | 3980000 | 2024-11-19 13:58 | 0.203 | 0 | 0.5603 | 0 | 3980 | 0.36231
| 3990000 | 3990000 | 2024-11-19 13:59 | 0.202 | 0 | 0.5602 | 0 | 3990 | 0.36059
STOP | 4000000 | 4000000 | 2024-11-19 14:00 | 0.201 | 0 | 0.5601 | 0 | 4000 | 0.35886
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
[8 empty] | 0 | #DIV/0!
Note on C12: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.
Note on D2: labina: Real sine amplitude, i.e. A*sin(w*t). It is NOT rms or peak-to-peak value.
Note on D7: labina: The algorithm must generate output quantity 'rms'. That is e.g. TWM-WFFT or TWM-WRMS