## List1
Cable error measurement template |  |  | measurement properties |  |  | hardware data |  |  | Actual number of readings: |  |  | 60
Software will read settings from cells E2 to E7 and |  |  | AC voltage amplitude | 1 | V | AC source idn | Fluke 5XXX s.n. 9385202 Synchronisation source: HEWLETT-PACKARD,33120A,0,8.0-5.0-1.0 |  | Crude estimate of measurement time (h): |  |  | 0.016667
measurement points from collumns A-C (yellow cells). |  |  | Sampling frequency | 4000000 | Hz
Results will be written into collumns D-H (and K+). Sheet must |  |  | AC source settle time | 1 |  | Digitizer idn | NI PXI-5922, sn. F22D5B, channel 0 ¦ MUX: Generic multiplexer at PXI1Slot8 ¦ PATH: PFI1
contain keywords START and STOP in collumn A, values of |  |  | PJVS cable length | 5.1
frequency in collumn B, and record length in C. |  |  | PJVS cable length unc. | 0.1 | m
Place keyword STOP to the row with half of the sampling frequency. |  |  | Short cable length | 0.1 | m
|  |  | Short cable length unc. | 0.01 | m
|  |  | Algorithm | TWM-WRMS | m
|  |  | Quantity | rms
|  |  | Path to FR fit | Example of FR meter template 4 MHz_fit.mat
inputs |  |  |  | results
Command | Signal frequency | Record length | Switch position | TIme of reading | digitizer amplitude rms |  |  | Calculation
(START, STOP) | Hz | multiple of periods | 0 or 1 | (time of writing this line into excel) | value (V) | unc (V) |  | for figure
START | 1000 | 100 | 1 | [5 empty] | #NAME? | 1 | #DIV/0!
| 1000 | 100 | 0 |  |  |  |  | 1 | #DIV/0!
| 1200 | 120 | 1 | [5 empty] | #NAME? | 1.2 | #DIV/0!
| 1200 | 120 | 0 |  |  |  |  | 1.2 | #DIV/0!
| 1350 | 135 | 1 | [5 empty] | #NAME? | 1.35 | #DIV/0!
| 1350 | 135 | 0 |  |  |  |  | 1.35 | #DIV/0!
| 1600 | 160 | 1 | [5 empty] | #NAME? | 1.6 | #DIV/0!
| 1600 | 160 | 0 |  |  |  |  | 1.6 | #DIV/0!
| 1900 | 190 | 1 | [5 empty] | #NAME? | 1.9 | #DIV/0!
| 1900 | 190 | 0 |  |  |  |  | 1.9 | #DIV/0!
| 2200 | 220 | 1 | [5 empty] | #NAME? | 2.2 | #DIV/0!
| 2200 | 220 | 0 |  |  |  |  | 2.2 | #DIV/0!
| 2600 | 260 | 1 | [5 empty] | #NAME? | 2.6 | #DIV/0!
| 2600 | 260 | 0 |  |  |  |  | 2.6 | #DIV/0!
| 3050 | 305 | 1 | [5 empty] | #NAME? | 3.05 | #DIV/0!
| 3050 | 305 | 0 |  |  |  |  | 3.05 | #DIV/0!
| 3600 | 360 | 1 | [5 empty] | #NAME? | 3.6 | #DIV/0!
| 3600 | 360 | 0 |  |  |  |  | 3.6 | #DIV/0!
| 4200 | 420 | 1 | [5 empty] | #NAME? | 4.2 | #DIV/0!
| 4200 | 420 | 0 |  |  |  |  | 4.2 | #DIV/0!
| 4900 | 490 | 1 | [5 empty] | #NAME? | 4.9 | #DIV/0!
| 4900 | 490 | 0 |  |  |  |  | 4.9 | #DIV/0!
| 5700 | 570 | 1 | [5 empty] | #NAME? | 5.7 | #DIV/0!
| 5700 | 570 | 0 |  |  |  |  | 5.7 | #DIV/0!
| 6700 | 670 | 1 | [5 empty] | #NAME? | 6.7 | #DIV/0!
| 6700 | 670 | 0 |  |  |  |  | 6.7 | #DIV/0!
| 7900 | 790 | 1 | [5 empty] | #NAME? | 7.9 | #DIV/0!
| 7900 | 790 | 0 |  |  |  |  | 7.9 | #DIV/0!
| 9200 | 920 | 1 | [5 empty] | #NAME? | 9.2 | #DIV/0!
| 9200 | 920 | 0 |  |  |  |  | 9.2 | #DIV/0!
| 11000 | 1100 | 1 | [5 empty] | #NAME? | 11 | #DIV/0!
| 11000 | 1100 | 0 |  |  |  |  | 11 | #DIV/0!
| 12700 | 1270 | 1 | [5 empty] | #NAME? | 12.7 | #DIV/0!
| 12700 | 1270 | 0 |  |  |  |  | 12.7 | #DIV/0!
| 14900 | 1490 | 1 | [5 empty] | #NAME? | 14.9 | #DIV/0!
| 14900 | 1490 | 0 |  |  |  |  | 14.9 | #DIV/0!
| 17500 | 1750 | 1 | [5 empty] | #NAME? | 17.5 | #DIV/0!
| 17500 | 1750 | 0 |  |  |  |  | 17.5 | #DIV/0!
| 20400 | 2040 | 1 | [5 empty] | #NAME? | 20.4 | #DIV/0!
| 20400 | 2040 | 0 |  |  |  |  | 20.4 | #DIV/0!
| 24000 | 2400 | 1 | [5 empty] | #NAME? | 24 | #DIV/0!
| 24000 | 2400 | 0 |  |  |  |  | 24 | #DIV/0!
| 28000 | 2800 | 1 | [5 empty] | #NAME? | 28 | #DIV/0!
| 28000 | 2800 | 0 |  |  |  |  | 28 | #DIV/0!
| 32900 | 3290 | 1 | [5 empty] | #NAME? | 32.9 | #DIV/0!
| 32900 | 3290 | 0 |  |  |  |  | 32.9 | #DIV/0!
| 38600 | 3860 | 1 | [5 empty] | #NAME? | 38.6 | #DIV/0!
| 38600 | 3860 | 0 |  |  |  |  | 38.6 | #DIV/0!
| 45200 | 4520 | 1 | [5 empty] | #NAME? | 45.2 | #DIV/0!
| 45200 | 4520 | 0 |  |  |  |  | 45.2 | #DIV/0!
| 53000 | 5300 | 1 | [5 empty] | #NAME? | 53 | #DIV/0!
| 53000 | 5300 | 0 |  |  |  |  | 53 | #DIV/0!
| 62100 | 6210 | 1 | [5 empty] | #NAME? | 62.1 | #DIV/0!
| 62100 | 6210 | 0 |  |  |  |  | 62.1 | #DIV/0!
| 72800 | 7280 | 1 | [5 empty] | #NAME? | 72.8 | #DIV/0!
| 72800 | 7280 | 0 |  |  |  |  | 72.8 | #DIV/0!
| 85000 | 8500 | 1 | [5 empty] | #NAME? | 85 | #DIV/0!
| 85000 | 8500 | 0 |  |  |  |  | 85 | #DIV/0!
| 100000 | 10000 | 1 | [5 empty] | #NAME? |  | #NAME?
STOP | 100000 | 10000 | 0 | [5 empty] | #NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
Note on D2: labina: Real sine amplitude, i.e. A*sin(w*t). It is NOT rms or peak-to-peak value.
Note on D9: labina: The algorithm must generate output quantity 'rms'. That is e.g. TWM-WFFT or TWM-WRMS
Note on D10: labina: The algorithm must generate output quantity 'rms'. That is e.g. TWM-WFFT or TWM-WRMS
Note on D11: labina: Path to a .mat file with fit of Frequency Response of the digitizer. Can be both relative and absolute path. Relative path starts from the path of this .xls file. If .xls file is moved and path is relative, the path has to be changed.
Note on C13: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.
Note on D13: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.