## List1
Cable error measurement template |  |  | measurement properties |  |  | hardware data |  |  | Actual number of readings: |  |  | 60
Software will read settings from cells E2 to E7 and |  |  | AC voltage amplitude | 1 | V | AC source idn | dummy AC source |  | Crude estimate of measurement time (h): |  |  | 1.6667
measurement points from collumns A-C (yellow cells). |  |  | Sampling frequency | 15000000 | Hz | DC meter idn | Keithley 2182
Results will be written into collumns D-H (and K+). Sheet must |  |  | AC source settle time | 100 |  | Digitizer idn | Simulated ADC, channel 1
contain keywords START and STOP in collumn A, values of
frequency in collumn B, and record length in C.
Place keyword STOP to the row with half of the sampling frequency. |  |  | Algorithm | TWM-WRMS
inputs |  |  |  | results
Command | Signal frequency | Record length | Switch position | TIme of reading | digitizer amplitude rms |  |  | Calculation
(START, STOP) | Hz | multiple of periods | 0 or 1 | (time of writing this line into excel) | value (V) | unc (V) |  | for figure
START | 1000 | 1000 | 0 | 2025-01-01 15:00 | 101.2057 |  |  | 1 | -2.9415 | 1 | -2.9415
| 1000 | 1000 | 1 | 2025-01-01 15:01 | 101.206 |  |  |  | #NAME?
| 1200 | 1200 | 0 | 2025-01-01 15:02 | 101.206 |  |  | 1.2 | 1.0928 | 1.2 | 1.0928
| 1200 | 1200 | 1 | 2025-01-01 15:03 | 101.2059 |  |  |  | #NAME?
| 1350 | 1350 | 0 | 2025-01-01 15:04 | 101.2059 |  |  | 1.35 | 2.9386 | 1.35 | 2.9386
| 1350 | 1350 | 1 | 2025-01-01 15:05 | 101.2056 |  |  |  | #NAME?
| 1600 | 1600 | 0 | 2025-01-01 15:06 | 101.2059 |  |  | 1.6 | -0.50195 | 1.6 | -0.50195
| 1600 | 1600 | 1 | 2025-01-01 15:07 | 101.2059 |  |  |  | #NAME?
| 1900 | 1900 | 0 | 2025-01-01 15:08 | 101.2057 |  |  | 1.9 | 1.1669 | 1.9 | 1.1669
| 1900 | 1900 | 1 | 2025-01-01 15:09 | 101.2055 |  |  |  | #NAME?
| 2200 | 2200 | 0 | 2025-01-01 15:10 | 101.2059 |  |  | 2.2 | 0.24208 | 2.2 | 0.24208
| 2200 | 2200 | 1 | 2025-01-01 15:11 | 101.2058 |  |  |  | #NAME?
| 2600 | 2600 | 0 | 2025-01-01 15:12 | 101.2055 |  |  | 2.6 | -0.12549 | 2.6 | -0.12549
| 2600 | 2600 | 1 | 2025-01-01 15:13 | 101.2055 |  |  |  | #NAME?
| 3050 | 3050 | 0 | 2025-01-01 15:14 | 101.2062 |  |  | 3.05 | 6.3168 | 3.05 | 6.3168
| 3050 | 3050 | 1 | 2025-01-01 15:15 | 101.2056 |  |  |  | #NAME?
| 3600 | 3600 | 0 | 2025-01-01 15:16 | 101.2057 |  |  | 3.6 | -1.4545 | 3.6 | -1.4545
| 3600 | 3600 | 1 | 2025-01-01 15:17 | 101.2059 |  |  |  | #NAME?
| 4200 | 4200 | 0 | 2025-01-01 15:18 | 101.2061 |  |  | 4.2 | 1.2084 | 4.2 | 1.2084
| 4200 | 4200 | 1 | 2025-01-01 15:19 | 101.2059 |  |  |  | #NAME?
| 4900 | 4900 | 0 | 2025-01-01 15:20 | 101.2056 |  |  | 4.9 | 1.3092 | 4.9 | 1.3092
| 4900 | 4900 | 1 | 2025-01-01 15:21 | 101.2055 |  |  |  | #NAME?
| 5700 | 5700 | 0 | 2025-01-01 15:22 | 101.2058 |  |  | 5.7 | 2.3398 | 5.7 | 2.3398
| 5700 | 5700 | 1 | 2025-01-01 15:23 | 101.2056 |  |  |  | #NAME?
| 6700 | 6700 | 0 | 2025-01-01 15:24 | 101.2058 |  |  | 6.7 | -0.65609 | 6.7 | -0.65609
| 6700 | 6700 | 1 | 2025-01-01 15:25 | 101.2059 |  |  |  | #NAME?
| 7900 | 7900 | 0 | 2025-01-01 15:26 | 101.2057 |  |  | 7.9 | 1.1857 | 7.9 | 1.1857
| 7900 | 7900 | 1 | 2025-01-01 15:27 | 101.2056 |  |  |  | #NAME?
| 9200 | 9200 | 0 | 2025-01-01 15:28 | 101.2052 |  |  | 9.2 | -1.0464 | 9.2 | -1.0464
| 9200 | 9200 | 1 | 2025-01-01 15:29 | 101.2053 |  |  |  | #NAME?
| 11000 | 11000 | 0 | 2025-01-01 15:30 | 101.2052 |  |  | 11 | 3.4317 | 11 | 3.4317
| 11000 | 11000 | 1 | 2025-01-01 15:31 | 101.2049 |  |  |  | #NAME?
| 12700 | 12700 | 0 | 2025-01-01 15:32 | 101.2051 |  |  | 12.7 | 7.2141 | 12.7 | 7.2141
| 12700 | 12700 | 1 | 2025-01-01 15:33 | 101.2044 |  |  |  | #NAME?
| 14900 | 14900 | 0 | 2025-01-01 15:34 | 101.204 |  |  | 14.9 | -2.9248 | 14.9 | -2.9248
| 14900 | 14900 | 1 | 2025-01-01 15:35 | 101.2043 |  |  |  | #NAME?
| 17500 | 17500 | 0 | 2025-01-01 15:36 | 101.2033 |  |  | 17.5 | -3.0859 | 17.5 | -3.0859
| 17500 | 17500 | 1 | 2025-01-01 15:37 | 101.2036 |  |  |  | #NAME?
| 20400 | 20400 | 0 | 2025-01-01 15:38 | 101.2023 |  |  | 20.4 | 3.4841 | 20.4 | 3.4841
| 20400 | 20400 | 1 | 2025-01-01 15:39 | 101.202 |  |  |  | #NAME?
| 24000 | 24000 | 0 | 2025-01-01 15:40 | 101.2007 |  |  | 24 | -0.3913 | 24 | -0.3913
| 24000 | 24000 | 1 | 2025-01-01 15:41 | 101.2007 |  |  |  | #NAME?
| 28000 | 28000 | 0 | 2025-01-01 15:42 | 101.199 |  |  | 28 | 5.2046 | 28 | 5.2046
| 28000 | 28000 | 1 | 2025-01-01 15:43 | 101.1985 |  |  |  | #NAME?
| 32900 | 32900 | 0 | 2025-01-01 15:44 | 101.1958 |  |  | 32.9 | 6.3323 | 32.9 | 6.3323
| 32900 | 32900 | 1 | 2025-01-01 15:45 | 101.1952 |  |  |  | #NAME?
| 38600 | 38600 | 0 | 2025-01-01 15:46 | 101.1922 |  |  | 38.6 | 16.8949 | 38.6 | 16.8949
| 38600 | 38600 | 1 | 2025-01-01 15:47 | 101.1905 |  |  |  | #NAME?
| 45200 | 45200 | 0 | 2025-01-01 15:48 | 101.1859 |  |  | 45.2 | 13.4862 | 45.2 | 13.4862
| 45200 | 45200 | 1 | 2025-01-01 15:49 | 101.1846 |  |  |  | #NAME?
| 53000 | 53000 | 0 | 2025-01-01 15:50 | 101.1789 |  |  | 53 | 16.6599 | 53 | 16.6599
| 53000 | 53000 | 1 | 2025-01-01 15:51 | 101.1772 |  |  |  | #NAME?
| 62100 | 62100 | 0 | 2025-01-01 15:52 | 101.1696 |  |  | 62.1 | 22.6279 | 62.1 | 22.6279
| 62100 | 62100 | 1 | 2025-01-01 15:53 | 101.1673 |  |  |  | #NAME?
| 72800 | 72800 | 0 | 2025-01-01 15:54 | 101.1571 |  |  | 72.8 | 37.5114 | 72.8 | 37.5114
| 72800 | 72800 | 1 | 2025-01-01 15:55 | 101.1533 |  |  |  | #NAME?
| 85000 | 85000 | 0 | 2025-01-01 15:56 | 101.1386 |  |  | 85 | 37.7872 | 85 | 37.7872
| 85000 | 85000 | 1 | 2025-01-01 15:57 | 101.1348 |  |  |  | #NAME?
| 100000 | 100000 | 0 | 2025-01-01 15:58 | 101.1118 |  |  | 100 | 59.7098 | 100 | 59.7098
STOP | 100000 | 100000 | 1 | 2025-01-01 15:59 | 101.1057 |  |  |  | #NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
[9 empty] | #NAME? |  | #NAME?
#NAME?
Note on D2: labina: Real sine amplitude, i.e. A*sin(w*t). It is NOT rms or peak-to-peak value.
Note on D7: labina: The algorithm must generate output quantity 'rms'. That is e.g. TWM-WFFT or TWM-WRMS
Note on C12: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.
Note on D12: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.