## List1
Frequency response measurement template |  |  | measurement properties |  |  | hardware data |  |  |  | Actual number of readings: | 666
Software will read settings from cells E2 to E7 and |  |  | AC voltage amplitude | 1.414 | V | AC source idn |  |  |  | Crude estimate of measurement time (h): | 3.95
measurement points from collumns A-C (yellow cells). |  |  | Sampling frequency | 10000000 | Hz | DC meter idn
Results will be written into collumns D-H (and K+). Sheet must |  |  | AC-DC settle time | 20 | s | Digitizer idn
contain keywords START and STOP in collumn A, values of |  |  | AC-DC warm up time | 900 | s
frequency in collumn B, and record length in C. |  |  | DC meter readings | 5
Place keyword STOP to the row with half of the sampling frequency. |  |  | Algorithm | TWM-WRMS
|  |  | Simultaneous meas.? | 1
inputs |  |  | results
Command | Signal frequency | Record length | TIme of DC readings | Digitizer amplitude rms |  | DC voltage |  | Calculation |  | DC meter readings
(START, STOP) | Hz | multiple of periods | (time of writing this line into excel) | value (V) | unc (V) | value (V) | unc (V) | for figure |  | ¦---------------->
START | 15000 | 15000 | [5 empty] | 15 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 30000 | 30000 | [5 empty] | 30 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 45000 | 45000 | [5 empty] | 45 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 60000 | 60000 | [5 empty] | 60 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 75000 | 75000 | [5 empty] | 75 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 90000 | 90000 | [5 empty] | 90 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 105000 | 105000 | [5 empty] | 105 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 120000 | 120000 | [5 empty] | 120 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 135000 | 135000 | [5 empty] | 135 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 150000 | 150000 | [5 empty] | 150 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 165000 | 165000 | [5 empty] | 165 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 180000 | 180000 | [5 empty] | 180 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 195000 | 195000 | [5 empty] | 195 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 210000 | 210000 | [5 empty] | 210 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 225000 | 225000 | [5 empty] | 225 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 240000 | 240000 | [5 empty] | 240 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 255000 | 255000 | [5 empty] | 255 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 270000 | 270000 | [5 empty] | 270 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 285000 | 285000 | [5 empty] | 285 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 300000 | 300000 | [5 empty] | 300 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 315000 | 315000 | [5 empty] | 315 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 330000 | 330000 | [5 empty] | 330 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 345000 | 345000 | [5 empty] | 345 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 360000 | 360000 | [5 empty] | 360 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 375000 | 375000 | [5 empty] | 375 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 390000 | 390000 | [5 empty] | 390 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 405000 | 405000 | [5 empty] | 405 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 420000 | 420000 | [5 empty] | 420 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 435000 | 435000 | [5 empty] | 435 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 450000 | 450000 | [5 empty] | 450 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 465000 | 465000 | [5 empty] | 465 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 480000 | 480000 | [5 empty] | 480 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 495000 | 495000 | [5 empty] | 495 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 510000 | 510000 | [5 empty] | 510 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 525000 | 525000 | [5 empty] | 525 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 540000 | 540000 | [5 empty] | 540 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 555000 | 555000 | [5 empty] | 555 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 570000 | 570000 | [5 empty] | 570 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 585000 | 585000 | [5 empty] | 585 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 600000 | 600000 | [5 empty] | 600 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 615000 | 615000 | [5 empty] | 615 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 630000 | 630000 | [5 empty] | 630 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 645000 | 645000 | [5 empty] | 645 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 660000 | 660000 | [5 empty] | 660 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 675000 | 675000 | [5 empty] | 675 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 690000 | 690000 | [5 empty] | 690 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 705000 | 705000 | [5 empty] | 705 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 720000 | 720000 | [5 empty] | 720 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 735000 | 735000 | [5 empty] | 735 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 750000 | 750000 | [5 empty] | 750 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 765000 | 765000 | [5 empty] | 765 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 780000 | 780000 | [5 empty] | 780 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 795000 | 795000 | [5 empty] | 795 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 810000 | 810000 | [5 empty] | 810 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 825000 | 825000 | [5 empty] | 825 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 840000 | 840000 | [5 empty] | 840 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 855000 | 855000 | [5 empty] | 855 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 870000 | 870000 | [5 empty] | 870 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 885000 | 885000 | [5 empty] | 885 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 900000 | 900000 | [5 empty] | 900 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 915000 | 915000 | [5 empty] | 915 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 930000 | 930000 | [5 empty] | 930 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 945000 | 945000 | [5 empty] | 945 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 960000 | 960000 | [5 empty] | 960 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 975000 | 975000 | [5 empty] | 975 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 990000 | 990000 | [5 empty] | 990 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1005000 | 1005000 | [5 empty] | 1005 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1020000 | 1020000 | [5 empty] | 1020 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1035000 | 1035000 | [5 empty] | 1035 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1050000 | 1050000 | [5 empty] | 1050 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1065000 | 1065000 | [5 empty] | 1065 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1080000 | 1080000 | [5 empty] | 1080 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1095000 | 1095000 | [5 empty] | 1095 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1110000 | 1110000 | [5 empty] | 1110 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1125000 | 1125000 | [5 empty] | 1125 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1140000 | 1140000 | [5 empty] | 1140 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1155000 | 1155000 | [5 empty] | 1155 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1170000 | 1170000 | [5 empty] | 1170 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1185000 | 1185000 | [5 empty] | 1185 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1200000 | 1200000 | [5 empty] | 1200 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1215000 | 1215000 | [5 empty] | 1215 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1230000 | 1230000 | [5 empty] | 1230 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1245000 | 1245000 | [5 empty] | 1245 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1260000 | 1260000 | [5 empty] | 1260 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1275000 | 1275000 | [5 empty] | 1275 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1290000 | 1290000 | [5 empty] | 1290 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1305000 | 1305000 | [5 empty] | 1305 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1320000 | 1320000 | [5 empty] | 1320 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1335000 | 1335000 | [5 empty] | 1335 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1350000 | 1350000 | [5 empty] | 1350 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1365000 | 1365000 | [5 empty] | 1365 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1380000 | 1380000 | [5 empty] | 1380 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1395000 | 1395000 | [5 empty] | 1395 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1410000 | 1410000 | [5 empty] | 1410 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1425000 | 1425000 | [5 empty] | 1425 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1440000 | 1440000 | [5 empty] | 1440 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1455000 | 1455000 | [5 empty] | 1455 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1470000 | 1470000 | [5 empty] | 1470 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1485000 | 1485000 | [5 empty] | 1485 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1500000 | 1500000 | [5 empty] | 1500 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1515000 | 1515000 | [5 empty] | 1515 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1530000 | 1530000 | [5 empty] | 1530 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1545000 | 1545000 | [5 empty] | 1545 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1560000 | 1560000 | [5 empty] | 1560 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1575000 | 1575000 | [5 empty] | 1575 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1590000 | 1590000 | [5 empty] | 1590 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1605000 | 1605000 | [5 empty] | 1605 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1620000 | 1620000 | [5 empty] | 1620 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1635000 | 1635000 | [5 empty] | 1635 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1650000 | 1650000 | [5 empty] | 1650 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1665000 | 1665000 | [5 empty] | 1665 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1680000 | 1680000 | [5 empty] | 1680 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1695000 | 1695000 | [5 empty] | 1695 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1710000 | 1710000 | [5 empty] | 1710 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1725000 | 1725000 | [5 empty] | 1725 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1740000 | 1740000 | [5 empty] | 1740 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1755000 | 1755000 | [5 empty] | 1755 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1770000 | 1770000 | [5 empty] | 1770 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1785000 | 1785000 | [5 empty] | 1785 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1815000 | 1815000 | [5 empty] | 1815 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1830000 | 1830000 | [5 empty] | 1830 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1845000 | 1845000 | [5 empty] | 1845 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1860000 | 1860000 | [5 empty] | 1860 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1875000 | 1875000 | [5 empty] | 1875 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1890000 | 1890000 | [5 empty] | 1890 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1905000 | 1905000 | [5 empty] | 1905 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1920000 | 1920000 | [5 empty] | 1920 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1935000 | 1935000 | [5 empty] | 1935 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1965000 | 1965000 | [5 empty] | 1965 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1980000 | 1980000 | [5 empty] | 1980 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 1995000 | 1995000 | [5 empty] | 1995 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2010000 | 2010000 | [5 empty] | 2010 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2025000 | 2025000 | [5 empty] | 2025 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2040000 | 2040000 | [5 empty] | 2040 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2055000 | 2055000 | [5 empty] | 2055 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2070000 | 2070000 | [5 empty] | 2070 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2085000 | 2085000 | [5 empty] | 2085 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2115000 | 2115000 | [5 empty] | 2115 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2130000 | 2130000 | [5 empty] | 2130 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2145000 | 2145000 | [5 empty] | 2145 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2160000 | 2160000 | [5 empty] | 2160 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2175000 | 2175000 | [5 empty] | 2175 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2190000 | 2190000 | [5 empty] | 2190 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2205000 | 2205000 | [5 empty] | 2205 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2220000 | 2220000 | [5 empty] | 2220 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2235000 | 2235000 | [5 empty] | 2235 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2250000 | 2250000 | [5 empty] | 2250 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2265000 | 2265000 | [5 empty] | 2265 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2280000 | 2280000 | [5 empty] | 2280 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2295000 | 2295000 | [5 empty] | 2295 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2310000 | 2310000 | [5 empty] | 2310 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2325000 | 2325000 | [5 empty] | 2325 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2340000 | 2340000 | [5 empty] | 2340 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2355000 | 2355000 | [5 empty] | 2355 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2370000 | 2370000 | [5 empty] | 2370 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2385000 | 2385000 | [5 empty] | 2385 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2400000 | 2400000 | [5 empty] | 2400 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2415000 | 2415000 | [5 empty] | 2415 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2430000 | 2430000 | [5 empty] | 2430 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2445000 | 2445000 | [5 empty] | 2445 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2460000 | 2460000 | [5 empty] | 2460 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2475000 | 2475000 | [5 empty] | 2475 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2490000 | 2490000 | [5 empty] | 2490 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2505000 | 2505000 | [5 empty] | 2505 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2520000 | 2520000 | [5 empty] | 2520 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2535000 | 2535000 | [5 empty] | 2535 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2565000 | 2565000 | [5 empty] | 2565 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2580000 | 2580000 | [5 empty] | 2580 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2595000 | 2595000 | [5 empty] | 2595 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2610000 | 2610000 | [5 empty] | 2610 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2625000 | 2625000 | [5 empty] | 2625 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2640000 | 2640000 | [5 empty] | 2640 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2655000 | 2655000 | [5 empty] | 2655 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2670000 | 2670000 | [5 empty] | 2670 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2685000 | 2685000 | [5 empty] | 2685 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2700000 | 2700000 | [5 empty] | 2700 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2715000 | 2715000 | [5 empty] | 2715 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2745000 | 2745000 | [5 empty] | 2745 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2760000 | 2760000 | [5 empty] | 2760 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2775000 | 2775000 | [5 empty] | 2775 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2790000 | 2790000 | [5 empty] | 2790 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2805000 | 2805000 | [5 empty] | 2805 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2820000 | 2820000 | [5 empty] | 2820 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2835000 | 2835000 | [5 empty] | 2835 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2850000 | 2850000 | [5 empty] | 2850 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2865000 | 2865000 | [5 empty] | 2865 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2880000 | 2880000 | [5 empty] | 2880 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2895000 | 2895000 | [5 empty] | 2895 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2910000 | 2910000 | [5 empty] | 2910 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2925000 | 2925000 | [5 empty] | 2925 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2940000 | 2940000 | [5 empty] | 2940 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2955000 | 2955000 | [5 empty] | 2955 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2970000 | 2970000 | [5 empty] | 2970 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 2985000 | 2985000 | [5 empty] | 2985 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3000000 | 3000000 | [5 empty] | 3000 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3015000 | 3015000 | [5 empty] | 3015 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3030000 | 3030000 | [5 empty] | 3030 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3045000 | 3045000 | [5 empty] | 3045 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3060000 | 3060000 | [5 empty] | 3060 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3075000 | 3075000 | [5 empty] | 3075 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3090000 | 3090000 | [5 empty] | 3090 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3105000 | 3105000 | [5 empty] | 3105 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3120000 | 3120000 | [5 empty] | 3120 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3135000 | 3135000 | [5 empty] | 3135 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3165000 | 3165000 | [5 empty] | 3165 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3195000 | 3195000 | [5 empty] | 3195 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3210000 | 3210000 | [5 empty] | 3210 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3225000 | 3225000 | [5 empty] | 3225 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3240000 | 3240000 | [5 empty] | 3240 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3255000 | 3255000 | [5 empty] | 3255 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3270000 | 3270000 | [5 empty] | 3270 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3285000 | 3285000 | [5 empty] | 3285 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3300000 | 3300000 | [5 empty] | 3300 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3315000 | 3315000 | [5 empty] | 3315 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3330000 | 3330000 | [5 empty] | 3330 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3345000 | 3345000 | [5 empty] | 3345 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3360000 | 3360000 | [5 empty] | 3360 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3375000 | 3375000 | [5 empty] | 3375 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3390000 | 3390000 | [5 empty] | 3390 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3405000 | 3405000 | [5 empty] | 3405 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3420000 | 3420000 | [5 empty] | 3420 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3435000 | 3435000 | [5 empty] | 3435 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3450000 | 3450000 | [5 empty] | 3450 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3465000 | 3465000 | [5 empty] | 3465 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3480000 | 3480000 | [5 empty] | 3480 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3495000 | 3495000 | [5 empty] | 3495 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3510000 | 3510000 | [5 empty] | 3510 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3525000 | 3525000 | [5 empty] | 3525 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3540000 | 3540000 | [5 empty] | 3540 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3555000 | 3555000 | [5 empty] | 3555 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3570000 | 3570000 | [5 empty] | 3570 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3585000 | 3585000 | [5 empty] | 3585 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3615000 | 3615000 | [5 empty] | 3615 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3630000 | 3630000 | [5 empty] | 3630 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3645000 | 3645000 | [5 empty] | 3645 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3660000 | 3660000 | [5 empty] | 3660 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3675000 | 3675000 | [5 empty] | 3675 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3690000 | 3690000 | [5 empty] | 3690 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3705000 | 3705000 | [5 empty] | 3705 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3720000 | 3720000 | [5 empty] | 3720 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3735000 | 3735000 | [5 empty] | 3735 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3750000 | 3750000 | [5 empty] | 3750 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3765000 | 3765000 | [5 empty] | 3765 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3780000 | 3780000 | [5 empty] | 3780 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3795000 | 3795000 | [5 empty] | 3795 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3810000 | 3810000 | [5 empty] | 3810 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3825000 | 3825000 | [5 empty] | 3825 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3840000 | 3840000 | [5 empty] | 3840 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3855000 | 3855000 | [5 empty] | 3855 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3870000 | 3870000 | [5 empty] | 3870 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3885000 | 3885000 | [5 empty] | 3885 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3915000 | 3915000 | [5 empty] | 3915 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3930000 | 3930000 | [5 empty] | 3930 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3945000 | 3945000 | [5 empty] | 3945 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3960000 | 3960000 | [5 empty] | 3960 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3975000 | 3975000 | [5 empty] | 3975 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 3990000 | 3990000 | [5 empty] | 3990 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4005000 | 4005000 | [5 empty] | 4005 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4020000 | 4020000 | [5 empty] | 4020 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4035000 | 4035000 | [5 empty] | 4035 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4050000 | 4050000 | [5 empty] | 4050 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4065000 | 4065000 | [5 empty] | 4065 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4080000 | 4080000 | [5 empty] | 4080 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4095000 | 4095000 | [5 empty] | 4095 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4110000 | 4110000 | [5 empty] | 4110 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4140000 | 4140000 | [5 empty] | 4140 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4155000 | 4155000 | [5 empty] | 4155 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4170000 | 4170000 | [5 empty] | 4170 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4185000 | 4185000 | [5 empty] | 4185 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4215000 | 4215000 | [5 empty] | 4215 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4230000 | 4230000 | [5 empty] | 4230 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4245000 | 4245000 | [5 empty] | 4245 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4260000 | 4260000 | [5 empty] | 4260 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4275000 | 4275000 | [5 empty] | 4275 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4305000 | 4305000 | [5 empty] | 4305 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4335000 | 4335000 | [5 empty] | 4335 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4350000 | 4350000 | [5 empty] | 4350 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4365000 | 4365000 | [5 empty] | 4365 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4380000 | 4380000 | [5 empty] | 4380 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4395000 | 4395000 | [5 empty] | 4395 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4410000 | 4410000 | [5 empty] | 4410 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4425000 | 4425000 | [5 empty] | 4425 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4455000 | 4455000 | [5 empty] | 4455 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4470000 | 4470000 | [5 empty] | 4470 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4485000 | 4485000 | [5 empty] | 4485 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4500000 | 4500000 | [5 empty] | 4500 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4515000 | 4515000 | [5 empty] | 4515 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4530000 | 4530000 | [5 empty] | 4530 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4545000 | 4545000 | [5 empty] | 4545 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4560000 | 4560000 | [5 empty] | 4560 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4575000 | 4575000 | [5 empty] | 4575 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4590000 | 4590000 | [5 empty] | 4590 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4605000 | 4605000 | [5 empty] | 4605 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4620000 | 4620000 | [5 empty] | 4620 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4635000 | 4635000 | [5 empty] | 4635 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4650000 | 4650000 | [5 empty] | 4650 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4665000 | 4665000 | [5 empty] | 4665 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4680000 | 4680000 | [5 empty] | 4680 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4695000 | 4695000 | [5 empty] | 4695 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4710000 | 4710000 | [5 empty] | 4710 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4725000 | 4725000 | [5 empty] | 4725 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4740000 | 4740000 | [5 empty] | 4740 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4755000 | 4755000 | [5 empty] | 4755 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4770000 | 4770000 | [5 empty] | 4770 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4785000 | 4785000 | [5 empty] | 4785 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4800000 | 4800000 | [5 empty] | 4800 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4815000 | 4815000 | [5 empty] | 4815 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4830000 | 4830000 | [5 empty] | 4830 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4845000 | 4845000 | [5 empty] | 4845 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4860000 | 4860000 | [5 empty] | 4860 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4875000 | 4875000 | [5 empty] | 4875 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4890000 | 4890000 | [5 empty] | 4890 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4905000 | 4905000 | [5 empty] | 4905 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4920000 | 4920000 | [5 empty] | 4920 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4935000 | 4935000 | [5 empty] | 4935 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4950000 | 4950000 | [5 empty] | 4950 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4965000 | 4965000 | [5 empty] | 4965 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4980000 | 4980000 | [5 empty] | 4980 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 4995000 | 4995000 | [5 empty] | 4995 | #DIV/0!
STOP | 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5010000 | 5010000 | [5 empty] | 5010 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5025000 | 5025000 | [5 empty] | 5025 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5040000 | 5040000 | [5 empty] | 5040 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5055000 | 5055000 | [5 empty] | 5055 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5070000 | 5070000 | [5 empty] | 5070 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5085000 | 5085000 | [5 empty] | 5085 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5100000 | 5100000 | [5 empty] | 5100 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5115000 | 5115000 | [5 empty] | 5115 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5130000 | 5130000 | [5 empty] | 5130 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5145000 | 5145000 | [5 empty] | 5145 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5160000 | 5160000 | [5 empty] | 5160 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5175000 | 5175000 | [5 empty] | 5175 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5190000 | 5190000 | [5 empty] | 5190 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5205000 | 5205000 | [5 empty] | 5205 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5220000 | 5220000 | [5 empty] | 5220 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5235000 | 5235000 | [5 empty] | 5235 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5250000 | 5250000 | [5 empty] | 5250 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5265000 | 5265000 | [5 empty] | 5265 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5280000 | 5280000 | [5 empty] | 5280 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5295000 | 5295000 | [5 empty] | 5295 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5310000 | 5310000 | [5 empty] | 5310 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5325000 | 5325000 | [5 empty] | 5325 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5340000 | 5340000 | [5 empty] | 5340 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5355000 | 5355000 | [5 empty] | 5355 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5370000 | 5370000 | [5 empty] | 5370 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5385000 | 5385000 | [5 empty] | 5385 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5400000 | 5400000 | [5 empty] | 5400 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5415000 | 5415000 | [5 empty] | 5415 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5430000 | 5430000 | [5 empty] | 5430 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5445000 | 5445000 | [5 empty] | 5445 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5460000 | 5460000 | [5 empty] | 5460 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5475000 | 5475000 | [5 empty] | 5475 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5490000 | 5490000 | [5 empty] | 5490 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5505000 | 5505000 | [5 empty] | 5505 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5520000 | 5520000 | [5 empty] | 5520 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5535000 | 5535000 | [5 empty] | 5535 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5550000 | 5550000 | [5 empty] | 5550 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5565000 | 5565000 | [5 empty] | 5565 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5580000 | 5580000 | [5 empty] | 5580 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5595000 | 5595000 | [5 empty] | 5595 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5610000 | 5610000 | [5 empty] | 5610 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5625000 | 5625000 | [5 empty] | 5625 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5640000 | 5640000 | [5 empty] | 5640 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5655000 | 5655000 | [5 empty] | 5655 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5670000 | 5670000 | [5 empty] | 5670 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5685000 | 5685000 | [5 empty] | 5685 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5700000 | 5700000 | [5 empty] | 5700 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5715000 | 5715000 | [5 empty] | 5715 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5730000 | 5730000 | [5 empty] | 5730 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5745000 | 5745000 | [5 empty] | 5745 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5760000 | 5760000 | [5 empty] | 5760 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5775000 | 5775000 | [5 empty] | 5775 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5790000 | 5790000 | [5 empty] | 5790 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5805000 | 5805000 | [5 empty] | 5805 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5820000 | 5820000 | [5 empty] | 5820 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5835000 | 5835000 | [5 empty] | 5835 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5850000 | 5850000 | [5 empty] | 5850 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5865000 | 5865000 | [5 empty] | 5865 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5880000 | 5880000 | [5 empty] | 5880 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5895000 | 5895000 | [5 empty] | 5895 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5910000 | 5910000 | [5 empty] | 5910 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5925000 | 5925000 | [5 empty] | 5925 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5940000 | 5940000 | [5 empty] | 5940 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5955000 | 5955000 | [5 empty] | 5955 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5970000 | 5970000 | [5 empty] | 5970 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 5985000 | 5985000 | [5 empty] | 5985 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6000000 | 6000000 | [5 empty] | 6000 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6015000 | 6015000 | [5 empty] | 6015 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6030000 | 6030000 | [5 empty] | 6030 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6045000 | 6045000 | [5 empty] | 6045 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6060000 | 6060000 | [5 empty] | 6060 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6075000 | 6075000 | [5 empty] | 6075 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6090000 | 6090000 | [5 empty] | 6090 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6105000 | 6105000 | [5 empty] | 6105 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6120000 | 6120000 | [5 empty] | 6120 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6135000 | 6135000 | [5 empty] | 6135 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6150000 | 6150000 | [5 empty] | 6150 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6165000 | 6165000 | [5 empty] | 6165 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6180000 | 6180000 | [5 empty] | 6180 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6195000 | 6195000 | [5 empty] | 6195 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6210000 | 6210000 | [5 empty] | 6210 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6225000 | 6225000 | [5 empty] | 6225 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6240000 | 6240000 | [5 empty] | 6240 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6255000 | 6255000 | [5 empty] | 6255 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6270000 | 6270000 | [5 empty] | 6270 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6285000 | 6285000 | [5 empty] | 6285 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6300000 | 6300000 | [5 empty] | 6300 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6315000 | 6315000 | [5 empty] | 6315 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6330000 | 6330000 | [5 empty] | 6330 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6345000 | 6345000 | [5 empty] | 6345 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6360000 | 6360000 | [5 empty] | 6360 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6375000 | 6375000 | [5 empty] | 6375 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6390000 | 6390000 | [5 empty] | 6390 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6405000 | 6405000 | [5 empty] | 6405 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6420000 | 6420000 | [5 empty] | 6420 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6435000 | 6435000 | [5 empty] | 6435 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6450000 | 6450000 | [5 empty] | 6450 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6465000 | 6465000 | [5 empty] | 6465 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6480000 | 6480000 | [5 empty] | 6480 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6495000 | 6495000 | [5 empty] | 6495 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6510000 | 6510000 | [5 empty] | 6510 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6525000 | 6525000 | [5 empty] | 6525 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6540000 | 6540000 | [5 empty] | 6540 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6555000 | 6555000 | [5 empty] | 6555 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6570000 | 6570000 | [5 empty] | 6570 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6585000 | 6585000 | [5 empty] | 6585 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6600000 | 6600000 | [5 empty] | 6600 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6615000 | 6615000 | [5 empty] | 6615 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6630000 | 6630000 | [5 empty] | 6630 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6645000 | 6645000 | [5 empty] | 6645 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6660000 | 6660000 | [5 empty] | 6660 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6675000 | 6675000 | [5 empty] | 6675 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6690000 | 6690000 | [5 empty] | 6690 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6705000 | 6705000 | [5 empty] | 6705 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6720000 | 6720000 | [5 empty] | 6720 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6735000 | 6735000 | [5 empty] | 6735 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6750000 | 6750000 | [5 empty] | 6750 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6765000 | 6765000 | [5 empty] | 6765 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6780000 | 6780000 | [5 empty] | 6780 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6795000 | 6795000 | [5 empty] | 6795 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6810000 | 6810000 | [5 empty] | 6810 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6825000 | 6825000 | [5 empty] | 6825 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6840000 | 6840000 | [5 empty] | 6840 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6855000 | 6855000 | [5 empty] | 6855 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6870000 | 6870000 | [5 empty] | 6870 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6885000 | 6885000 | [5 empty] | 6885 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6900000 | 6900000 | [5 empty] | 6900 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6915000 | 6915000 | [5 empty] | 6915 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6930000 | 6930000 | [5 empty] | 6930 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6945000 | 6945000 | [5 empty] | 6945 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6960000 | 6960000 | [5 empty] | 6960 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6975000 | 6975000 | [5 empty] | 6975 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 6990000 | 6990000 | [5 empty] | 6990 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7005000 | 7005000 | [5 empty] | 7005 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7020000 | 7020000 | [5 empty] | 7020 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7035000 | 7035000 | [5 empty] | 7035 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7050000 | 7050000 | [5 empty] | 7050 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7065000 | 7065000 | [5 empty] | 7065 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7080000 | 7080000 | [5 empty] | 7080 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7095000 | 7095000 | [5 empty] | 7095 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7110000 | 7110000 | [5 empty] | 7110 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7125000 | 7125000 | [5 empty] | 7125 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7140000 | 7140000 | [5 empty] | 7140 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7155000 | 7155000 | [5 empty] | 7155 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7170000 | 7170000 | [5 empty] | 7170 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7185000 | 7185000 | [5 empty] | 7185 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7200000 | 7200000 | [5 empty] | 7200 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7215000 | 7215000 | [5 empty] | 7215 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7230000 | 7230000 | [5 empty] | 7230 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7245000 | 7245000 | [5 empty] | 7245 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7260000 | 7260000 | [5 empty] | 7260 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7275000 | 7275000 | [5 empty] | 7275 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7290000 | 7290000 | [5 empty] | 7290 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7305000 | 7305000 | [5 empty] | 7305 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7320000 | 7320000 | [5 empty] | 7320 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7335000 | 7335000 | [5 empty] | 7335 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7350000 | 7350000 | [5 empty] | 7350 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7365000 | 7365000 | [5 empty] | 7365 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7380000 | 7380000 | [5 empty] | 7380 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7395000 | 7395000 | [5 empty] | 7395 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7410000 | 7410000 | [5 empty] | 7410 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7425000 | 7425000 | [5 empty] | 7425 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7440000 | 7440000 | [5 empty] | 7440 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7455000 | 7455000 | [5 empty] | 7455 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7470000 | 7470000 | [5 empty] | 7470 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7485000 | 7485000 | [5 empty] | 7485 | #DIV/0!
| 1000 | 1000 | [5 empty] | #NAME? | #NAME?
| 7500000 | 7500000 | [5 empty] | 7500 | #DIV/0!
| 1000 | 1000 | [5 empty] | 1 | #DIV/0!
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
[8 empty] | #NAME? | #NAME?
Note on D2: labina: Real sine amplitude, i.e. A*sin(w*t). It is NOT rms or peak-to-peak value.
Note on D7: labina: The algorithm must generate output quantity 'rms'. That is e.g. TWM-WFFT or TWM-WRMS
Note on D8: labina: Set to 1 to measure simultaneously both Digitizer amplitude and DC multimeter voltage. Set to 0 or keep empty to measure first AC and DC after.
Note on C12: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.