## List1
Frequency response measurement template |  |  | measurement properties |  |  | hardware data |  |  |  | Actual number of readings: | 266
Software will read settings from cells E2 to E7 and |  |  | AC voltage amplitude | 1.414 | V | AC source idn | TEKTRONIX,AFG3101C,C010192,SCPI:99.0 FV:1.0.2 |  |  | Crude estimate of measurement time (h): | 1.7278
measurement points from collumns A-C (yellow cells). |  |  | Sampling frequency | 4000000 | Hz | DC meter idn | HP3458A
Results will be written into collumns D-H (and K+). Sheet must |  |  | AC-DC settle time | 20 | s | Digitizer idn | NI PXI-5922, sn. F22D5B, channel 0
contain keywords START and STOP in collumn A, values of |  |  | AC-DC warm up time | 900 | s
frequency in collumn B, and record length in C. |  |  | DC meter readings | 5
Place keyword STOP to the row with half of the sampling frequency. |  |  | Algorithm | TWM-WRMS
|  |  | Simultaneous meas.? | 1
inputs |  |  | results
Command | Signal frequency | Record length | TIme of DC readings | Digitizer amplitude rms |  | DC voltage |  | Calculation |  | DC meter readings
(START, STOP) | Hz | multiple of periods | (time of writing this line into excel) | value (V) | unc (V) | value (V) | unc (V) | for figure |  | ¦---------------->
START | 15000 | 15000 | 2025-05-09 12:15 | 0.90084 | 0 | 0.73656 | 0.03158 | 15 | 1.046
| 1000 | 1000 | 2025-05-09 12:15 | 0.89854 | 0 | 0.76845 | 1.6774e-06
| 30000 | 30000 | 2025-05-09 12:16 | 0.89874 | 0 | 0.76847 | 2.563e-06 | 30 | 1.0003
| 1000 | 1000 | 2025-05-09 12:17 | 0.89853 | 0 | 0.76848 | 1.8075e-06
| 45000 | 45000 | 2025-05-09 12:18 | 0.89834 | 0 | 0.76848 | 7.0283e-07 | 45 | 0.99979
| 1000 | 1000 | 2025-05-09 12:18 | 0.89853 | 0 | 0.76848 | 1.3963e-06
| 60000 | 60000 | 2025-05-09 12:19 | 0.89824 | 0 | 0.76849 | 2.309e-06 | 60 | 0.99963
| 1000 | 1000 | 2025-05-09 12:20 | 0.89859 | 0 | 0.76851 | 1.1859e-06
| 75000 | 75000 | 2025-05-09 12:21 | 0.89802 | 0 | 0.76851 | 1.1045e-06 | 75 | 0.99953
| 1000 | 1000 | 2025-05-09 12:22 | 0.89844 | 0 | 0.76851 | 4.8254e-07
| 90000 | 90000 | 2025-05-09 12:22 | 0.89795 | 0 | 0.76851 | 1.6867e-06 | 90 | 0.99935
| 1000 | 1000 | 2025-05-09 12:23 | 0.89854 | 0 | 0.76852 | 8.4471e-07
| 105000 | 105000 | 2025-05-09 12:24 | 0.89786 | 0 | 0.76851 | 1.094e-06 | 105 | 0.99925
| 1000 | 1000 | 2025-05-09 12:25 | 0.89853 | 0 | 0.76851 | 7.1798e-07
| 120000 | 120000 | 2025-05-09 12:26 | 0.89775 | 0 | 0.76851 | 1.1461e-06 | 120 | 0.99916
| 1000 | 1000 | 2025-05-09 12:26 | 0.89851 | 0 | 0.76851 | 5.6326e-07
| 135000 | 135000 | 2025-05-09 12:27 | 0.89763 | 0 | 0.76851 | 6.2559e-07 | 135 | 0.99897
| 1000 | 1000 | 2025-05-09 12:28 | 0.89856 | 0 | 0.76851 | 1.1557e-06
| 150000 | 150000 | 2025-05-09 12:29 | 0.89757 | 0 | 0.76852 | 9.3759e-07 | 150 | 0.9989
| 1000 | 1000 | 2025-05-09 12:29 | 0.89855 | 0 | 0.76851 | 9.3155e-07
| 165000 | 165000 | 2025-05-09 12:30 | 0.89752 | 0 | 0.76852 | 5.4125e-07 | 165 | 0.99886
| 1000 | 1000 | 2025-05-09 12:31 | 0.89855 | 0 | 0.76852 | 2.8894e-07
| 180000 | 180000 | 2025-05-09 12:32 | 0.89752 | 0 | 0.76852 | 1.0069e-06 | 180 | 0.99886
| 1000 | 1000 | 2025-05-09 12:33 | 0.89854 | 0 | 0.76851 | 6.1175e-07
| 195000 | 195000 | 2025-05-09 12:33 | 0.89753 | 0 | 0.76852 | 1.69e-06 | 195 | 0.99886
| 1000 | 1000 | 2025-05-09 12:34 | 0.89856 | 0 | 0.76852 | 1.3745e-06
| 210000 | 210000 | 2025-05-09 12:35 | 0.8975 | 0 | 0.76852 | 1.1901e-06 | 210 | 0.99889
| 1000 | 1000 | 2025-05-09 12:36 | 0.89851 | 0 | 0.76853 | 7.4746e-07
| 225000 | 225000 | 2025-05-09 12:36 | 0.8975 | 0 | 0.76853 | 1.0566e-06 | 225 | 0.99888
| 1000 | 1000 | 2025-05-09 12:37 | 0.8985 | 0 | 0.76853 | 7.5362e-07
| 240000 | 240000 | 2025-05-09 12:38 | 0.89765 | 0 | 0.76853 | 1.1343e-06 | 240 | 0.99905
| 1000 | 1000 | 2025-05-09 12:39 | 0.89851 | 0 | 0.76853 | 1.5124e-06
| 255000 | 255000 | 2025-05-09 12:40 | 0.89767 | 0 | 0.76853 | 1.4876e-06 | 255 | 0.99908
| 1000 | 1000 | 2025-05-09 12:40 | 0.8985 | 0 | 0.76852 | 5.0132e-07
| 270000 | 270000 | 2025-05-09 12:41 | 0.89768 | 0 | 0.76853 | 7.8321e-07 | 270 | 0.99907
| 1000 | 1000 | 2025-05-09 12:42 | 0.89852 | 0 | 0.76853 | 1.4215e-06
| 285000 | 285000 | 2025-05-09 12:43 | 0.89765 | 0 | 0.76853 | 1.0492e-06 | 285 | 0.99905
| 1000 | 1000 | 2025-05-09 12:44 | 0.8985 | 0 | 0.76853 | 1.0889e-06
| 300000 | 300000 | 2025-05-09 12:44 | 0.89768 | 0 | 0.76853 | 1.4795e-06 | 300 | 0.99906
| 1000 | 1000 | 2025-05-09 12:45 | 0.89854 | 0 | 0.76854 | 1.4361e-06
| 315000 | 315000 | 2025-05-09 12:46 | 0.89767 | 0 | 0.76855 | 1.9244e-06 | 315 | 0.99907
| 1000 | 1000 | 2025-05-09 12:47 | 0.89851 | 0 | 0.76855 | 1.0205e-06
| 330000 | 330000 | 2025-05-09 12:47 | 0.89765 | 0 | 0.76855 | 1.3573e-06 | 330 | 0.99902
| 1000 | 1000 | 2025-05-09 12:48 | 0.89852 | 0 | 0.76854 | 1.4117e-06
| 345000 | 345000 | 2025-05-09 12:49 | 0.89762 | 0 | 0.76855 | 2.0269e-06 | 345 | 0.99902
| 1000 | 1000 | 2025-05-09 12:50 | 0.8985 | 0 | 0.76854 | 2.0116e-06
| 360000 | 360000 | 2025-05-09 12:51 | 0.8976 | 0 | 0.76855 | 2.382e-06 | 360 | 0.99896
| 1000 | 1000 | 2025-05-09 12:51 | 0.89855 | 0 | 0.76855 | 1.8906e-06
| 375000 | 375000 | 2025-05-09 12:52 | 0.89752 | 0 | 0.76855 | 1.4401e-06 | 375 | 0.99886
| 1000 | 1000 | 2025-05-09 12:53 | 0.89855 | 0 | 0.76855 | 7.239e-07
| 390000 | 390000 | 2025-05-09 12:54 | 0.89736 | 0 | 0.76856 | 8.8577e-07 | 390 | 0.9987
| 1000 | 1000 | 2025-05-09 12:54 | 0.89854 | 0 | 0.76856 | 1.4301e-06
| 405000 | 405000 | 2025-05-09 12:55 | 0.89721 | 0 | 0.76857 | 1.0322e-06 | 405 | 0.99847
| 1000 | 1000 | 2025-05-09 12:56 | 0.89858 | 0 | 0.76856 | 1.3302e-06
| 420000 | 420000 | 2025-05-09 12:57 | 0.89711 | 0 | 0.76856 | 1.1329e-06 | 420 | 0.99839
| 1000 | 1000 | 2025-05-09 12:58 | 0.89857 | 0 | 0.76857 | 9.7904e-07
| 435000 | 435000 | 2025-05-09 12:58 | 0.89694 | 0 | 0.76857 | 7.727e-07 | 435 | 0.9982
| 1000 | 1000 | 2025-05-09 12:59 | 0.89856 | 0 | 0.76857 | 8.1834e-07
| 450000 | 450000 | 2025-05-09 13:00 | 0.89672 | 0 | 0.76857 | 1.2482e-06 | 450 | 0.99794
| 1000 | 1000 | 2025-05-09 13:01 | 0.89856 | 0 | 0.76856 | 4.9404e-07
| 465000 | 465000 | 2025-05-09 13:01 | 0.89654 | 0 | 0.76857 | 7.4503e-07 | 465 | 0.99781
| 1000 | 1000 | 2025-05-09 13:02 | 0.89851 | 0 | 0.76857 | 7.0636e-07
| 480000 | 480000 | 2025-05-09 13:03 | 0.89648 | 0 | 0.76857 | 1.1966e-06 | 480 | 0.99766
| 1000 | 1000 | 2025-05-09 13:04 | 0.89859 | 0 | 0.76857 | 2.0263e-06
| 495000 | 495000 | 2025-05-09 13:05 | 0.89635 | 0 | 0.76858 | 5.9114e-07 | 495 | 0.99756
| 1000 | 1000 | 2025-05-09 13:05 | 0.89855 | 0 | 0.76858 | 1.3655e-06
| 510000 | 510000 | 2025-05-09 13:06 | 0.89628 | 0 | 0.76859 | 9.9691e-07 | 510 | 0.99749
| 1000 | 1000 | 2025-05-09 13:07 | 0.89853 | 0 | 0.76858 | 5.9563e-07
| 525000 | 525000 | 2025-05-09 13:08 | 0.89623 | 0 | 0.76858 | 3.2939e-07 | 525 | 0.99744
| 1000 | 1000 | 2025-05-09 13:08 | 0.89853 | 0 | 0.76858 | 9.8237e-07
| 540000 | 540000 | 2025-05-09 13:09 | 0.89625 | 0 | 0.76859 | 1.3154e-06 | 540 | 0.99744
| 1000 | 1000 | 2025-05-09 13:10 | 0.89855 | 0 | 0.76859 | 8.7263e-07
| 555000 | 555000 | 2025-05-09 13:11 | 0.89622 | 0 | 0.76859 | 8.9467e-07 | 555 | 0.99742
| 1000 | 1000 | 2025-05-09 13:12 | 0.89854 | 0 | 0.76859 | 7.8429e-07
| 570000 | 570000 | 2025-05-09 13:12 | 0.89622 | 0 | 0.76859 | 5.2722e-07 | 570 | 0.99743
| 1000 | 1000 | 2025-05-09 13:13 | 0.89852 | 0 | 0.76859 | 1.7473e-06
| 585000 | 585000 | 2025-05-09 13:14 | 0.89633 | 0 | 0.76859 | 6.184e-07 | 585 | 0.99746
| 1000 | 1000 | 2025-05-09 13:15 | 0.89861 | 0 | 0.76859 | 8.2647e-07
| 600000 | 600000 | 2025-05-09 13:15 | 0.89638 | 0 | 0.76859 | 5.2695e-07 | 600 | 0.99763
| 1000 | 1000 | 2025-05-09 13:16 | 0.89852 | 0 | 0.76859 | 1.1107e-06
| 615000 | 615000 | 2025-05-09 13:17 | 0.89639 | 0 | 0.76859 | 1.5448e-06 | 615 | 0.99766
| 1000 | 1000 | 2025-05-09 13:18 | 0.89849 | 0 | 0.76859 | 1.1068e-06
| 630000 | 630000 | 2025-05-09 13:19 | 0.89646 | 0 | 0.76859 | 8.6609e-07 | 630 | 0.99773
| 1000 | 1000 | 2025-05-09 13:19 | 0.8985 | 0 | 0.76859 | 1.047e-06
| 645000 | 645000 | 2025-05-09 13:20 | 0.89662 | 0 | 0.7686 | 1.6486e-06 | 645 | 0.99789
| 1000 | 1000 | 2025-05-09 13:21 | 0.89852 | 0 | 0.7686 | 1.2442e-06
| 660000 | 660000 | 2025-05-09 13:22 | 0.89665 | 0 | 0.7686 | 2.5265e-06 | 660 | 0.99788
| 1000 | 1000 | 2025-05-09 13:22 | 0.89856 | 0 | 0.7686 | 6.3685e-07
| 675000 | 675000 | 2025-05-09 13:23 | 0.89663 | 0 | 0.7686 | 8.7349e-07 | 675 | 0.9979
| 1000 | 1000 | 2025-05-09 13:24 | 0.89851 | 0 | 0.76861 | 6.7682e-07
| 690000 | 690000 | 2025-05-09 13:25 | 0.89664 | 0 | 0.76861 | 1.5987e-06 | 690 | 0.9979
| 1000 | 1000 | 2025-05-09 13:26 | 0.89852 | 0 | 0.7686 | 9.2979e-07
| 705000 | 705000 | 2025-05-09 13:26 | 0.89655 | 0 | 0.76859 | 1.4303e-06 | 705 | 0.99783
| 1000 | 1000 | 2025-05-09 13:27 | 0.89849 | 0 | 0.76859 | 1.1722e-06
| 720000 | 720000 | 2025-05-09 13:28 | 0.89656 | 0 | 0.76859 | 7.9308e-07 | 720 | 0.99772
| 1000 | 1000 | 2025-05-09 13:29 | 0.8986 | 0 | 0.76858 | 8.5382e-07
| 735000 | 735000 | 2025-05-09 13:29 | 0.89643 | 0 | 0.76859 | 1.7679e-06 | 735 | 0.9977
| 1000 | 1000 | 2025-05-09 13:30 | 0.8985 | 0 | 0.76858 | 1.8118e-07
| 750000 | 750000 | 2025-05-09 13:31 | 0.89632 | 0 | 0.76859 | 1.4651e-06 | 750 | 0.99752
| 1000 | 1000 | 2025-05-09 13:32 | 0.89855 | 0 | 0.76859 | 1.3561e-06
| 765000 | 765000 | 2025-05-09 13:33 | 0.89616 | 0 | 0.76859 | 9.0814e-07 | 765 | 0.99732
| 1000 | 1000 | 2025-05-09 13:33 | 0.89856 | 0 | 0.76859 | 7.5691e-07
| 780000 | 780000 | 2025-05-09 13:34 | 0.89603 | 0 | 0.76859 | 1.3626e-06 | 780 | 0.99721
| 1000 | 1000 | 2025-05-09 13:35 | 0.89855 | 0 | 0.7686 | 2.1202e-06
| 795000 | 795000 | 2025-05-09 13:36 | 0.8959 | 0 | 0.7686 | 7.2576e-07 | 795 | 0.99701
| 1000 | 1000 | 2025-05-09 13:36 | 0.89858 | 0 | 0.7686 | 8.7357e-07
| 810000 | 810000 | 2025-05-09 13:37 | 0.89575 | 0 | 0.7686 | 4.6933e-07 | 810 | 0.99687
| 1000 | 1000 | 2025-05-09 13:38 | 0.89857 | 0 | 0.7686 | 1.339e-06
| 825000 | 825000 | 2025-05-09 13:39 | 0.89564 | 0 | 0.7686 | 6.7187e-07 | 825 | 0.99676
| 1000 | 1000 | 2025-05-09 13:40 | 0.89855 | 0 | 0.7686 | 2.1186e-06
| 840000 | 840000 | 2025-05-09 13:40 | 0.89549 | 0 | 0.76861 | 7.9643e-07 | 840 | 0.99656
| 1000 | 1000 | 2025-05-09 13:41 | 0.89858 | 0 | 0.76861 | 1.9e-06
| 855000 | 855000 | 2025-05-09 13:42 | 0.89543 | 0 | 0.76861 | 9.6265e-07 | 855 | 0.99649
| 1000 | 1000 | 2025-05-09 13:43 | 0.89859 | 0 | 0.76861 | 1.4492e-06
| 870000 | 870000 | 2025-05-09 13:43 | 0.89539 | 0 | 0.76861 | 9.1865e-07 | 870 | 0.9965
| 1000 | 1000 | 2025-05-09 13:44 | 0.89855 | 0 | 0.76861 | 2.2265e-06
| 885000 | 885000 | 2025-05-09 13:45 | 0.89534 | 0 | 0.76861 | 1.0784e-06 | 885 | 0.99638
| 1000 | 1000 | 2025-05-09 13:46 | 0.89859 | 0 | 0.76861 | 3.781e-07
| 900000 | 900000 | 2025-05-09 13:47 | 0.89535 | 0 | 0.76861 | 8.3263e-07 | 900 | 0.99645
| 1000 | 1000 | 2025-05-09 13:47 | 0.89853 | 0 | 0.76861 | 8.7933e-07
| 915000 | 915000 | 2025-05-09 13:48 | 0.89548 | 0 | 0.76861 | 7.6028e-07 | 915 | 0.99652
| 1000 | 1000 | 2025-05-09 13:49 | 0.8986 | 0 | 0.76861 | 1.2734e-06
| 930000 | 930000 | 2025-05-09 13:50 | 0.89553 | 0 | 0.7686 | 9.5188e-07 | 930 | 0.99661
| 1000 | 1000 | 2025-05-09 13:50 | 0.89858 | 0 | 0.7686 | 1.0566e-06
| 945000 | 945000 | 2025-05-09 13:51 | 0.89556 | 0 | 0.7686 | 1.9579e-06 | 945 | 0.99667
| 1000 | 1000 | 2025-05-09 13:52 | 0.89857 | 0 | 0.76861 | 1.6272e-06
| 960000 | 960000 | 2025-05-09 13:53 | 0.89572 | 0 | 0.76861 | 1.456e-06 | 960 | 0.99679
| 1000 | 1000 | 2025-05-09 13:54 | 0.8986 | 0 | 0.76861 | 1.0691e-06
| 975000 | 975000 | 2025-05-09 13:54 | 0.89576 | 0 | 0.76861 | 1.1993e-06 | 975 | 0.99685
| 1000 | 1000 | 2025-05-09 13:55 | 0.8986 | 0 | 0.76861 | 8.115e-07
| 990000 | 990000 | 2025-05-09 13:56 | 0.89581 | 0 | 0.76861 | 1.2573e-06 | 990 | 0.99692
| 1000 | 1000 | 2025-05-09 13:57 | 0.89858 | 0 | 0.76861 | 1.0892e-06
| 1005000 | 1005000 | 2025-05-09 13:57 | 0.89587 | 0 | 0.76861 | 1.1097e-06 | 1005 | 0.99696
| 1000 | 1000 | 2025-05-09 13:58 | 0.8986 | 0 | 0.76861 | 1.2368e-06
| 1020000 | 1020000 | 2025-05-09 13:59 | 0.89586 | 0 | 0.76861 | 4.2499e-07 | 1020 | 0.99694
| 1000 | 1000 | 2025-05-09 14:00 | 0.89861 | 0 | 0.7686 | 1.3867e-06
| 1035000 | 1035000 | 2025-05-09 14:01 | 0.89586 | 0 | 0.7686 | 5.8461e-07 | 1035 | 0.99698
| 1000 | 1000 | 2025-05-09 14:01 | 0.89858 | 0 | 0.7686 | 1.1379e-06
| 1050000 | 1050000 | 2025-05-09 14:02 | 0.8958 | 0 | 0.7686 | 2.7663e-07 | 1050 | 0.99696
| 1000 | 1000 | 2025-05-09 14:03 | 0.89853 | 0 | 0.7686 | 6.1817e-07
| 1065000 | 1065000 | 2025-05-09 14:04 | 0.8957 | 0 | 0.7686 | 1.4128e-06 | 1065 | 0.99679
| 1000 | 1000 | 2025-05-09 14:04 | 0.89859 | 0 | 0.76859 | 7.8262e-07
| 1080000 | 1080000 | 2025-05-09 14:05 | 0.89566 | 0 | 0.76859 | 1.2693e-06 | 1080 | 0.99674
| 1000 | 1000 | 2025-05-09 14:06 | 0.89858 | 0 | 0.76858 | 2.6549e-07
| 1095000 | 1095000 | 2025-05-09 14:07 | 0.89545 | 0 | 0.76858 | 9.7966e-07 | 1095 | 0.99652
| 1000 | 1000 | 2025-05-09 14:08 | 0.89857 | 0 | 0.76858 | 4.3368e-07
| 1110000 | 1110000 | 2025-05-09 14:08 | 0.89528 | 0 | 0.76858 | 1.423e-06 | 1110 | 0.99632
| 1000 | 1000 | 2025-05-09 14:09 | 0.89858 | 0 | 0.76857 | 1.1341e-06
| 1125000 | 1125000 | 2025-05-09 14:10 | 0.89508 | 0 | 0.76858 | 2.5177e-06 | 1125 | 0.99614
| 1000 | 1000 | 2025-05-09 14:11 | 0.89857 | 0 | 0.76859 | 1.5749e-06
| 1140000 | 1140000 | 2025-05-09 14:12 | 0.89491 | 0 | 0.76859 | 2.7361e-06 | 1140 | 0.9959
| 1000 | 1000 | 2025-05-09 14:12 | 0.89859 | 0 | 0.76859 | 4.746e-07
| 1155000 | 1155000 | 2025-05-09 14:13 | 0.89482 | 0 | 0.76859 | 6.5419e-07 | 1155 | 0.99581
| 1000 | 1000 | 2025-05-09 14:14 | 0.89858 | 0 | 0.76858 | 1.3101e-06
| 1170000 | 1170000 | 2025-05-09 14:15 | 0.89475 | 0 | 0.76858 | 6.0304e-07 | 1170 | 0.99575
| 1000 | 1000 | 2025-05-09 14:15 | 0.89857 | 0 | 0.76858 | 4.5448e-07
| 1185000 | 1185000 | 2025-05-09 14:16 | 0.89464 | 0 | 0.76858 | 8.6486e-07 | 1185 | 0.99553
| 1000 | 1000 | 2025-05-09 14:17 | 0.89866 | 0 | 0.76858 | 1.9021e-06
| 1200000 | 1200000 | 2025-05-09 14:18 | 0.89465 | 0 | 0.76858 | 1.013e-06 | 1200 | 0.99556
| 1000 | 1000 | 2025-05-09 14:18 | 0.89864 | 0 | 0.76858 | 7.0339e-07
| 1215000 | 1215000 | 2025-05-09 14:19 | 0.89459 | 0 | 0.76857 | 9.6386e-07 | 1215 | 0.99558
| 1000 | 1000 | 2025-05-09 14:20 | 0.89855 | 0 | 0.76857 | 8.5975e-07
| 1230000 | 1230000 | 2025-05-09 14:21 | 0.89461 | 0 | 0.76857 | 1.0176e-06 | 1230 | 0.99557
| 1000 | 1000 | 2025-05-09 14:22 | 0.8986 | 0 | 0.76858 | 1.3607e-06
| 1245000 | 1245000 | 2025-05-09 14:22 | 0.89477 | 0 | 0.76858 | 1.9039e-06 | 1245 | 0.9957
| 1000 | 1000 | 2025-05-09 14:23 | 0.89864 | 0 | 0.76858 | 9.063e-07
| 1260000 | 1260000 | 2025-05-09 14:24 | 0.89481 | 0 | 0.76859 | 9.7157e-07 | 1260 | 0.99578
| 1000 | 1000 | 2025-05-09 14:25 | 0.8986 | 0 | 0.76859 | 1.5841e-06
| 1275000 | 1275000 | 2025-05-09 14:26 | 0.89496 | 0 | 0.7686 | 9.2781e-07 | 1275 | 0.99596
| 1000 | 1000 | 2025-05-09 14:26 | 0.89858 | 0 | 0.76859 | 1.4771e-06
| 1290000 | 1290000 | 2025-05-09 14:27 | 0.8951 | 0 | 0.76859 | 1.2389e-06 | 1290 | 0.99606
| 1000 | 1000 | 2025-05-09 14:28 | 0.89864 | 0 | 0.7686 | 1.2243e-06
| 1305000 | 1305000 | 2025-05-09 14:29 | 0.89515 | 0 | 0.7686 | 5.7369e-07 | 1305 | 0.99618
| 1000 | 1000 | 2025-05-09 14:29 | 0.89859 | 0 | 0.76861 | 1.3272e-06
| 1320000 | 1320000 | 2025-05-09 14:30 | 0.89519 | 0 | 0.76861 | 6.1059e-07 | 1320 | 0.99616
| 1000 | 1000 | 2025-05-09 14:31 | 0.89865 | 0 | 0.76861 | 9.5058e-07
| 1335000 | 1335000 | 2025-05-09 14:32 | 0.89516 | 0 | 0.76862 | 5.9246e-07 | 1335 | 0.99618
| 1000 | 1000 | 2025-05-09 14:33 | 0.8986 | 0 | 0.76862 | 9.4796e-07
| 1350000 | 1350000 | 2025-05-09 14:33 | 0.89516 | 0 | 0.76861 | 1.5575e-06 | 1350 | 0.99623
| 1000 | 1000 | 2025-05-09 14:34 | 0.89855 | 0 | 0.76862 | 6.7645e-07
| 1365000 | 1365000 | 2025-05-09 14:35 | 0.8951 | 0 | 0.76862 | 1.3262e-06 | 1365 | 0.99607
| 1000 | 1000 | 2025-05-09 14:36 | 0.89862 | 0 | 0.76862 | 6.0062e-07
| 1380000 | 1380000 | 2025-05-09 14:36 | 0.89499 | 0 | 0.76861 | 6.1713e-07 | 1380 | 0.99595
| 1000 | 1000 | 2025-05-09 14:37 | 0.89862 | 0 | 0.76861 | 1.4054e-06
| 1395000 | 1395000 | 2025-05-09 14:38 | 0.89478 | 0 | 0.76861 | 1.1329e-06 | 1395 | 0.99579
| 1000 | 1000 | 2025-05-09 14:39 | 0.89856 | 0 | 0.76861 | 8.2904e-07
| 1410000 | 1410000 | 2025-05-09 14:40 | 0.89459 | 0 | 0.76861 | 6.5375e-07 | 1410 | 0.99555
| 1000 | 1000 | 2025-05-09 14:40 | 0.89858 | 0 | 0.76861 | 1.7869e-06
| 1425000 | 1425000 | 2025-05-09 14:41 | 0.89442 | 0 | 0.7686 | 9.7588e-07 | 1425 | 0.99537
| 1000 | 1000 | 2025-05-09 14:42 | 0.89858 | 0 | 0.7686 | 1.2196e-06
| 1440000 | 1440000 | 2025-05-09 14:43 | 0.8943 | 0 | 0.7686 | 1.274e-06 | 1440 | 0.99516
| 1000 | 1000 | 2025-05-09 14:43 | 0.89865 | 0 | 0.7686 | 9.306e-07
| 1455000 | 1455000 | 2025-05-09 14:44 | 0.89414 | 0 | 0.76861 | 1.0359e-06 | 1455 | 0.99504
| 1000 | 1000 | 2025-05-09 14:45 | 0.89859 | 0 | 0.7686 | 8.8154e-07
| 1470000 | 1470000 | 2025-05-09 14:46 | 0.89404 | 0 | 0.7686 | 8.6478e-07 | 1470 | 0.99494
| 1000 | 1000 | 2025-05-09 14:47 | 0.89859 | 0 | 0.76861 | 5.5359e-07
| 1485000 | 1485000 | 2025-05-09 14:47 | 0.89405 | 0 | 0.76861 | 1.1982e-06 | 1485 | 0.99497
| 1000 | 1000 | 2025-05-09 14:48 | 0.89858 | 0 | 0.76861 | 1.2301e-06
| 1500000 | 1500000 | 2025-05-09 14:49 | 0.89412 | 0 | 0.76861 | 1.112e-06 | 1500 | 0.995
| 1000 | 1000 | 2025-05-09 14:50 | 0.89862 | 0 | 0.76862 | 7.991e-07
| 1515000 | 1515000 | 2025-05-09 14:50 | 0.89427 | 0 | 0.76862 | 4.7884e-07 | 1515 | 0.99517
| 1000 | 1000 | 2025-05-09 14:51 | 0.89861 | 0 | 0.76862 | 1.181e-06
| 1530000 | 1530000 | 2025-05-09 14:52 | 0.89444 | 0 | 0.76862 | 1.1255e-06 | 1530 | 0.99538
| 1000 | 1000 | 2025-05-09 14:53 | 0.8986 | 0 | 0.76862 | 9.1146e-07
| 1545000 | 1545000 | 2025-05-09 14:54 | 0.89461 | 0 | 0.76862 | 8.7633e-07 | 1545 | 0.99556
| 1000 | 1000 | 2025-05-09 14:54 | 0.89859 | 0 | 0.76862 | 7.0384e-07
| 1560000 | 1560000 | 2025-05-09 14:55 | 0.89476 | 0 | 0.76861 | 1.0277e-06 | 1560 | 0.99577
| 1000 | 1000 | 2025-05-09 14:56 | 0.89856 | 0 | 0.76861 | 1.2686e-06
| 1575000 | 1575000 | 2025-05-09 14:57 | 0.89457 | 0 | 0.76861 | 3.6403e-07 | 1575 | 0.99553
| 1000 | 1000 | 2025-05-09 14:57 | 0.89859 | 0 | 0.76861 | 1.894e-06
| 1590000 | 1590000 | 2025-05-09 14:58 | 0.89425 | 0 | 0.76861 | 3.1177e-07 | 1590 | 0.99518
| 1000 | 1000 | 2025-05-09 14:59 | 0.89858 | 0 | 0.76861 | 5.1253e-07
| 1605000 | 1605000 | 2025-05-09 15:00 | 0.89341 | 0 | 0.76861 | 1.3397e-06 | 1605 | 0.99427
| 1000 | 1000 | 2025-05-09 15:01 | 0.89856 | 0 | 0.76861 | 8.4936e-07
| 1620000 | 1620000 | 2025-05-09 15:01 | 0.89203 | 0 | 0.76861 | 1.0839e-06 | 1620 | 0.99267
| 1000 | 1000 | 2025-05-09 15:02 | 0.89861 | 0 | 0.76861 | 1.2556e-06
| 1635000 | 1635000 | 2025-05-09 15:03 | 0.88979 | 0 | 0.76862 | 1.0741e-06 | 1635 | 0.99019
| 1000 | 1000 | 2025-05-09 15:04 | 0.89859 | 0 | 0.76861 | 8.3242e-07
| 1650000 | 1650000 | 2025-05-09 15:04 | 0.88658 | 0 | 0.76861 | 7.446e-07 | 1650 | 0.9866
| 1000 | 1000 | 2025-05-09 15:05 | 0.89861 | 0 | 0.76861 | 5.2877e-07
| 1665000 | 1665000 | 2025-05-09 15:06 | 0.88203 | 0 | 0.76861 | 1.505e-06 | 1665 | 0.98161
| 1000 | 1000 | 2025-05-09 15:07 | 0.89856 | 0 | 0.76861 | 8.3905e-07
| 1680000 | 1680000 | 2025-05-09 15:08 | 0.87611 | 0 | 0.76861 | 4.8188e-07 | 1680 | 0.97498
| 1000 | 1000 | 2025-05-09 15:08 | 0.89859 | 0 | 0.7686 | 6.1309e-07
| 1695000 | 1695000 | 2025-05-09 15:09 | 0.86852 | 0 | 0.7686 | 1.0495e-06 | 1695 | 0.96658
| 1000 | 1000 | 2025-05-09 15:10 | 0.89856 | 0 | 0.7686 | 4.5142e-07
| 1710000 | 1710000 | 2025-05-09 15:11 | 0.85919 | 0 | 0.7686 | 1.2323e-06 | 1710 | 0.95612
| 1000 | 1000 | 2025-05-09 15:11 | 0.89863 | 0 | 0.76861 | 1.0362e-06
| 1725000 | 1725000 | 2025-05-09 15:12 | 0.84773 | 0 | 0.76861 | 8.4176e-07 | 1725 | 0.94338
| 1000 | 1000 | 2025-05-09 15:13 | 0.89861 | 0 | 0.76861 | 1.2177e-06
| 1740000 | 1740000 | 2025-05-09 15:14 | 0.83405 | 0 | 0.76861 | 9.6707e-07 | 1740 | 0.92816
| 1000 | 1000 | 2025-05-09 15:15 | 0.89861 | 0 | 0.76861 | 1.9501e-06
| 1755000 | 1755000 | 2025-05-09 15:15 | 0.81798 | 0 | 0.7686 | 1.5001e-06 | 1755 | 0.91027
| 1000 | 1000 | 2025-05-09 15:16 | 0.89861 | 0 | 0.7686 | 1.2556e-06
| 1770000 | 1770000 | 2025-05-09 15:17 | 0.79962 | 0 | 0.7686 | 1.5644e-06 | 1770 | 0.88981
| 1000 | 1000 | 2025-05-09 15:18 | 0.89863 | 0 | 0.7686 | 7.777e-07
| 1785000 | 1785000 | 2025-05-09 15:19 | 0.77869 | 0 | 0.7686 | 1.4843e-06 | 1785 | 0.86656
| 1000 | 1000 | 2025-05-09 15:19 | 0.89861 | 0 | 0.7686 | 1.3732e-06
| 1800000 | 1800000 | 2025-05-09 15:20 | 0.75534 | 0 | 0.7686 | 9.074e-07 | 1800 | 0.84057
| 1000 | 1000 | 2025-05-09 15:21 | 0.8986 | 0 | 0.7686 | 1.4662e-06
| 1815000 | 1815000 | 2025-05-09 15:22 | 0.72953 | 0 | 0.7686 | 1.3319e-06 | 1815 | 0.81187
| 1000 | 1000 | 2025-05-09 15:22 | 0.89858 | 0 | 0.7686 | 1.3432e-06
| 1830000 | 1830000 | 2025-05-09 15:23 | 0.70155 | 0 | 0.76861 | 8.9546e-07 | 1830 | 0.78072
| 1000 | 1000 | 2025-05-09 15:24 | 0.8986 | 0 | 0.76861 | 8.458e-07
| 1845000 | 1845000 | 2025-05-09 15:25 | 0.67126 | 0 | 0.7686 | 1.0413e-06 | 1845 | 0.74699
| 1000 | 1000 | 2025-05-09 15:26 | 0.89863 | 0 | 0.7686 | 7.3616e-07
| 1860000 | 1860000 | 2025-05-09 15:26 | 0.63923 | 0 | 0.7686 | 1.0361e-06 | 1860 | 0.71134
| 1000 | 1000 | 2025-05-09 15:27 | 0.89863 | 0 | 0.76861 | 9.1228e-07
| 1875000 | 1875000 | 2025-05-09 15:28 | 0.60537 | 0 | 0.76861 | 1.3866e-06 | 1875 | 0.67369
| 1000 | 1000 | 2025-05-09 15:29 | 0.89858 | 0 | 0.76861 | 1.0786e-06
| 1890000 | 1890000 | 2025-05-09 15:30 | 0.57027 | 0 | 0.76861 | 1.5104e-06 | 1890 | 0.63458
| 1000 | 1000 | 2025-05-09 15:30 | 0.89867 | 0 | 0.76862 | 1.1841e-06
| 1905000 | 1905000 | 2025-05-09 15:31 | 0.53397 | 0 | 0.76862 | 1.4241e-06 | 1905 | 0.59419
| 1000 | 1000 | 2025-05-09 15:32 | 0.89865 | 0 | 0.76862 | 9.8508e-07
| 1920000 | 1920000 | 2025-05-09 15:33 | 0.4971 | 0 | 0.76862 | 9.7824e-07 | 1920 | 0.55312
| 1000 | 1000 | 2025-05-09 15:34 | 0.89871 | 0 | 0.76862 | 1.2158e-06
| 1935000 | 1935000 | 2025-05-09 15:34 | 0.45983 | 0 | 0.76862 | 1.8745e-06 | 1935 | 0.51169
| 1000 | 1000 | 2025-05-09 15:35 | 0.89867 | 0 | 0.76863 | 5.0731e-07
| 1950000 | 1950000 | 2025-05-09 15:36 | 0.4226 | 0 | 0.76863 | 6.929e-07 | 1950 | 0.47025
| 1000 | 1000 | 2025-05-09 15:37 | 0.89866 | 0 | 0.76863 | 1.478e-06
| 1965000 | 1965000 | 2025-05-09 15:38 | 0.38578 | 0 | 0.76863 | 6.278e-07 | 1965 | 0.42928
| 1000 | 1000 | 2025-05-09 15:38 | 0.89866 | 0 | 0.76862 | 8.8937e-07
| 1980000 | 1980000 | 2025-05-09 15:39 | 0.34965 | 0 | 0.76862 | 1.7743e-06 | 1980 | 0.38908
| 1000 | 1000 | 2025-05-09 15:40 | 0.89867 | 0 | 0.76863 | 1.5666e-06
| 1995000 | 1995000 | 2025-05-09 15:41 | 0.3146 | 0 | 0.76862 | 6.1673e-07 | 1995 | 0.3501
STOP | 1000 | 1000 | 2025-05-09 15:42 | 0.89859 | 0 | 0.76862 | 2.0006e-06
| 1336000 | 1336000 | [5 empty] | 1336 | #DIV/0!
| 1000 | 1000
| 1350000 | 1350000 | [5 empty] | 1350 | #DIV/0!
| 1000 | 1000
| 1365000 | 1365000 | [5 empty] | 1365 | #DIV/0!
| 1000 | 1000
| 1365000 | 1365000 | [5 empty] | 1365 | #DIV/0!
| 1000 | 1000
| 1375000 | 1375000 | [5 empty] | 1375 | #DIV/0!
| 1000 | 1000
| 1400000 | 1400000 | [5 empty] | 1400 | #DIV/0!
| 1000 | 1000
| 1400000 | 1400000 | [5 empty] | 1400 | #DIV/0!
| 1000 | 1000
| 1416000 | 1416000 | [5 empty] | 1416 | #DIV/0!
| 1000 | 1000
| 1416000 | 1416000 | [5 empty] | 1416 | #DIV/0!
| 1000 | 1000
| 1430000 | 1430000 | [5 empty] | 1430 | #DIV/0!
| 1000 | 1000
| 1440000 | 1440000 | [5 empty] | 1440 | #DIV/0!
| 1000 | 1000
| 1440000 | 1440000 | [5 empty] | 1440 | #DIV/0!
| 1000 | 1000
| 1450000 | 1450000 | [5 empty] | 1450 | #DIV/0!
| 1000 | 1000
| 1475000 | 1475000 | [5 empty] | 1475 | #DIV/0!
| 1000 | 1000
| 1480000 | 1480000 | [5 empty] | 1480 | #DIV/0!
| 1000 | 1000
| 1494000 | 1494000 | [5 empty] | 1494 | #DIV/0!
| 1000 | 1000
| 1500000 | 1500000 | [5 empty] | 1500 | #DIV/0!
| 1000 | 1000
| 1506000 | 1506000 | [5 empty] | 1506 | #DIV/0!
| 1000 | 1000
| 1515000 | 1515000 | [5 empty] | 1515 | #DIV/0!
| 1000 | 1000
| 1540000 | 1540000 | [5 empty] | 1540 | #DIV/0!
| 1000 | 1000
| 1540000 | 1540000 | [5 empty] | 1540 | #DIV/0!
| 1000 | 1000
| 1550000 | 1550000 | [5 empty] | 1550 | #DIV/0!
| 1000 | 1000
| 1560000 | 1560000 | [5 empty] | 1560 | #DIV/0!
| 1000 | 1000
| 1575000 | 1575000 | [5 empty] | 1575 | #DIV/0!
| 1000 | 1000
| 1575000 | 1575000 | [5 empty] | 1575 | #DIV/0!
| 1000 | 1000
| 1592000 | 1592000 | [5 empty] | 1592 | #DIV/0!
| 1000 | 1000
| 1600000 | 1600000 | [5 empty] | 1600 | #DIV/0!
| 1000 | 1000
| 1608000 | 1608000 | [5 empty] | 1608 | #DIV/0!
| 1000 | 1000
| 1620000 | 1620000 | [5 empty] | 1620 | #DIV/0!
| 1000 | 1000
| 1625000 | 1625000 | [5 empty] | 1625 | #DIV/0!
| 1000 | 1000
| 1650000 | 1650000 | [5 empty] | 1650 | #DIV/0!
| 1000 | 1000
| 1650000 | 1650000 | [5 empty] | 1650 | #DIV/0!
| 1000 | 1000
| 1660000 | 1660000 | [5 empty] | 1660 | #DIV/0!
| 1000 | 1000
| 1670000 | 1670000 | [5 empty] | 1670 | #DIV/0!
| 1000 | 1000
| 1680000 | 1680000 | [5 empty] | 1680 | #DIV/0!
| 1000 | 1000
| 1700000 | 1700000 | [5 empty] | 1700 | #DIV/0!
| 1000 | 1000
| 1700000 | 1700000 | [5 empty] | 1700 | #DIV/0!
| 1000 | 1000
| 1716000 | 1716000 | [5 empty] | 1716 | #DIV/0!
| 1000 | 1000
| 1716000 | 1716000 | [5 empty] | 1716 | #DIV/0!
| 1000 | 1000
| 1728000 | 1728000 | [5 empty] | 1728 | #DIV/0!
| 1000 | 1000
| 1750000 | 1750000 | [5 empty] | 1750 | #DIV/0!
| 1000 | 1000
| 1750000 | 1750000 | [5 empty] | 1750 | #DIV/0!
| 1000 | 1000
| 1750000 | 1750000 | [5 empty] | 1750 | #DIV/0!
| 1000 | 1000
| 1770000 | 1770000 | [5 empty] | 1770 | #DIV/0!
| 1000 | 1000
| 1775000 | 1775000 | [5 empty] | 1775 | #DIV/0!
| 1000 | 1000
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000
| 1800000 | 1800000 | [5 empty] | 1800 | #DIV/0!
| 1000 | 1000
| 1820000 | 1820000 | [5 empty] | 1820 | #DIV/0!
| 1000 | 1000
| 1820000 | 1820000 | [5 empty] | 1820 | #DIV/0!
| 1000 | 1000
| 1848000 | 1848000 | [5 empty] | 1848 | #DIV/0!
| 1000 | 1000
| 1850000 | 1850000 | [5 empty] | 1850 | #DIV/0!
| 1000 | 1000
| 1860000 | 1860000 | [5 empty] | 1860 | #DIV/0!
| 1000 | 1000
| 1875000 | 1875000 | [5 empty] | 1875 | #DIV/0!
| 1000 | 1000
| 1875000 | 1875000 | [5 empty] | 1875 | #DIV/0!
| 1000 | 1000
| 1890000 | 1890000 | [5 empty] | 1890 | #DIV/0!
| 1000 | 1000
| 1900000 | 1900000 | [5 empty] | 1900 | #DIV/0!
| 1000 | 1000
| 1900000 | 1900000 | [5 empty] | 1900 | #DIV/0!
| 1000 | 1000
| 1925000 | 1925000 | [5 empty] | 1925 | #DIV/0!
| 1000 | 1000
| 1925000 | 1925000 | [5 empty] | 1925 | #DIV/0!
| 1000 | 1000
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000
| 1950000 | 1950000 | [5 empty] | 1950 | #DIV/0!
| 1000 | 1000
| 1976000 | 1976000 | [5 empty] | 1976 | #DIV/0!
| 1000 | 1000
| 1984000 | 1984000 | [5 empty] | 1984 | #DIV/0!
| 1000 | 1000
| 1992000 | 1992000 | [5 empty] | 1992 | #DIV/0!
| 1000 | 1000
| 2000000 | 2000000 | [5 empty] | 2000 | #DIV/0!
| 1000 | 1000
| 2008000 | 2008000 | [5 empty] | 2008 | #DIV/0!
| 1000 | 1000
| 2025000 | 2025000 | [5 empty] | 2025 | #DIV/0!
| 1000 | 1000
| 2025000 | 2025000 | [5 empty] | 2025 | #DIV/0!
| 1000 | 1000
| 2040000 | 2040000 | [5 empty] | 2040 | #DIV/0!
| 1000 | 1000
| 2040000 | 2040000 | [5 empty] | 2040 | #DIV/0!
| 1000 | 1000
| 2075000 | 2075000 | [5 empty] | 2075 | #DIV/0!
| 1000 | 1000
| 2075000 | 2075000 | [5 empty] | 2075 | #DIV/0!
| 1000 | 1000
| 2075000 | 2075000 | [5 empty] | 2075 | #DIV/0!
| 1000 | 1000
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000
| 2100000 | 2100000 | [5 empty] | 2100 | #DIV/0!
| 1000 | 1000
| 2125000 | 2125000 | [5 empty] | 2125 | #DIV/0!
| 1000 | 1000
| 2125000 | 2125000 | [5 empty] | 2125 | #DIV/0!
| 1000 | 1000
| 2145000 | 2145000 | [5 empty] | 2145 | #DIV/0!
| 1000 | 1000
| 2145000 | 2145000 | [5 empty] | 2145 | #DIV/0!
| 1000 | 1000
| 2160000 | 2160000 | [5 empty] | 2160 | #DIV/0!
| 1000 | 1000
| 2160000 | 2160000 | [5 empty] | 2160 | #DIV/0!
| 1000 | 1000
| 2184000 | 2184000 | [5 empty] | 2184 | #DIV/0!
| 1000 | 1000
| 2184000 | 2184000 | [5 empty] | 2184 | #DIV/0!
| 1000 | 1000
| 2200000 | 2200000 | [5 empty] | 2200 | #DIV/0!
| 1000 | 1000
| 2200000 | 2200000 | [5 empty] | 2200 | #DIV/0!
| 1000 | 1000
| 2220000 | 2220000 | [5 empty] | 2220 | #DIV/0!
| 1000 | 1000
| 2220000 | 2220000 | [5 empty] | 2220 | #DIV/0!
| 1000 | 1000
| 2240000 | 2240000 | [5 empty] | 2240 | #DIV/0!
| 1000 | 1000
| 2250000 | 2250000 | [5 empty] | 2250 | #DIV/0!
| 1000 | 1000
| 2250000 | 2250000 | [5 empty] | 2250 | #DIV/0!
| 1000 | 1000
| 2275000 | 2275000 | [5 empty] | 2275 | #DIV/0!
| 1000 | 1000
| 2275000 | 2275000 | [5 empty] | 2275 | #DIV/0!
| 1000 | 1000
| 2280000 | 2280000 | [5 empty] | 2280 | #DIV/0!
| 1000 | 1000
| 2310000 | 2310000 | [5 empty] | 2310 | #DIV/0!
| 1000 | 1000
| 2310000 | 2310000 | [5 empty] | 2310 | #DIV/0!
| 1000 | 1000
| 2325000 | 2325000 | [5 empty] | 2325 | #DIV/0!
| 1000 | 1000
| 2325000 | 2325000 | [5 empty] | 2325 | #DIV/0!
| 1000 | 1000
| 2340000 | 2340000 | [5 empty] | 2340 | #DIV/0!
| 1000 | 1000
| 2360000 | 2360000 | [5 empty] | 2360 | #DIV/0!
| 1000 | 1000
| 2360000 | 2360000 | [5 empty] | 2360 | #DIV/0!
| 1000 | 1000
| 2375000 | 2375000 | [5 empty] | 2375 | #DIV/0!
| 1000 | 1000
| 2375000 | 2375000 | [5 empty] | 2375 | #DIV/0!
| 1000 | 1000
| 2388000 | 2388000 | [5 empty] | 2388 | #DIV/0!
| 1000 | 1000
| 2400000 | 2400000 | [5 empty] | 2400 | #DIV/0!
| 1000 | 1000
| 2412000 | 2412000 | [5 empty] | 2412 | #DIV/0!
| 1000 | 1000
| 2412000 | 2412000 | [5 empty] | 2412 | #DIV/0!
| 1000 | 1000
| 2424000 | 2424000 | [5 empty] | 2424 | #DIV/0!
| 1000 | 1000
| 2436000 | 2436000 | [5 empty] | 2436 | #DIV/0!
| 1000 | 1000
| 2455000 | 2455000 | [5 empty] | 2455 | #DIV/0!
| 1000 | 1000
| 2465000 | 2465000 | [5 empty] | 2465 | #DIV/0!
| 1000 | 1000
| 2475000 | 2475000 | [5 empty] | 2475 | #DIV/0!
| 1000 | 1000
| 2485000 | 2485000 | [5 empty] | 2485 | #DIV/0!
| 1000 | 1000
| 2490000 | 2490000 | [5 empty] | 2490 | #DIV/0!
| 1000 | 1000
| 2500000 | 2500000 | [5 empty] | 2500 | #DIV/0!
| 1000 | 1000
| 2510000 | 2510000 | [5 empty] | 2510 | #DIV/0!
| 1000 | 1000
| 2515000 | 2515000 | [5 empty] | 2515 | #DIV/0!
| 1000 | 1000
| 2525000 | 2525000 | [5 empty] | 2525 | #DIV/0!
| 1000 | 1000
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000
| 2550000 | 2550000 | [5 empty] | 2550 | #DIV/0!
| 1000 | 1000
| 2580000 | 2580000 | [5 empty] | 2580 | #DIV/0!
| 1000 | 1000
| 2580000 | 2580000 | [5 empty] | 2580 | #DIV/0!
| 1000 | 1000
| 2600000 | 2600000 | [5 empty] | 2600 | #DIV/0!
| 1000 | 1000
| 2600000 | 2600000 | [5 empty] | 2600 | #DIV/0!
| 1000 | 1000
| 2600000 | 2600000 | [5 empty] | 2600 | #DIV/0!
| 1000 | 1000
| 2625000 | 2625000 | [5 empty] | 2625 | #DIV/0!
| 1000 | 1000
| 2625000 | 2625000 | [5 empty] | 2625 | #DIV/0!
| 1000 | 1000
| 2640000 | 2640000 | [5 empty] | 2640 | #DIV/0!
| 1000 | 1000
| 2650000 | 2650000 | [5 empty] | 2650 | #DIV/0!
| 1000 | 1000
| 2664000 | 2664000 | [5 empty] | 2664 | #DIV/0!
| 1000 | 1000
| 2672000 | 2672000 | [5 empty] | 2672 | #DIV/0!
| 1000 | 1000
| 2680000 | 2680000 | [5 empty] | 2680 | #DIV/0!
| 1000 | 1000
| 2688000 | 2688000 | [5 empty] | 2688 | #DIV/0!
| 1000 | 1000
| 2700000 | 2700000 | [5 empty] | 2700 | #DIV/0!
| 1000 | 1000
| 2700000 | 2700000 | [5 empty] | 2700 | #DIV/0!
| 1000 | 1000
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000
| 2730000 | 2730000 | [5 empty] | 2730 | #DIV/0!
| 1000 | 1000
| 2750000 | 2750000 | [5 empty] | 2750 | #DIV/0!
| 1000 | 1000
| 2750000 | 2750000 | [5 empty] | 2750 | #DIV/0!
| 1000 | 1000
| 2775000 | 2775000 | [5 empty] | 2775 | #DIV/0!
| 1000 | 1000
| 2775000 | 2775000 | [5 empty] | 2775 | #DIV/0!
| 1000 | 1000
| 2800000 | 2800000 | [5 empty] | 2800 | #DIV/0!
| 1000 | 1000
| 2800000 | 2800000 | [5 empty] | 2800 | #DIV/0!
| 1000 | 1000
| 2800000 | 2800000 | [5 empty] | 2800 | #DIV/0!
| 1000 | 1000
| 2820000 | 2820000 | [5 empty] | 2820 | #DIV/0!
| 1000 | 1000
| 2840000 | 2840000 | [5 empty] | 2840 | #DIV/0!
| 1000 | 1000
| 2840000 | 2840000 | [5 empty] | 2840 | #DIV/0!
| 1000 | 1000
| 2850000 | 2850000 | [5 empty] | 2850 | #DIV/0!
| 1000 | 1000
| 2860000 | 2860000 | [5 empty] | 2860 | #DIV/0!
| 1000 | 1000
| 2860000 | 2860000 | [5 empty] | 2860 | #DIV/0!
| 1000 | 1000
| 2880000 | 2880000 | [5 empty] | 2880 | #DIV/0!
| 1000 | 1000
| 2880000 | 2880000 | [5 empty] | 2880 | #DIV/0!
| 1000 | 1000
| 2900000 | 2900000 | [5 empty] | 2900 | #DIV/0!
| 1000 | 1000
| 2900000 | 2900000 | [5 empty] | 2900 | #DIV/0!
| 1000 | 1000
| 2925000 | 2925000 | [5 empty] | 2925 | #DIV/0!
| 1000 | 1000
| 2925000 | 2925000 | [5 empty] | 2925 | #DIV/0!
| 1000 | 1000
| 2950000 | 2950000 | [5 empty] | 2950 | #DIV/0!
| 1000 | 1000
| 2950000 | 2950000 | [5 empty] | 2950 | #DIV/0!
| 1000 | 1000
| 2950000 | 2950000 | [5 empty] | 2950 | #DIV/0!
| 1000 | 1000
| 2973000 | 2973000 | [5 empty] | 2973 | #DIV/0!
| 1000 | 1000
| 2982000 | 2982000 | [5 empty] | 2982 | #DIV/0!
| 1000 | 1000
| 2991000 | 2991000 | [5 empty] | 2991 | #DIV/0!
| 1000 | 1000
| 3000000 | 3000000 | [5 empty] | 3000 | #DIV/0!
| 1000 | 1000
| 3009000 | 3009000 | [5 empty] | 3009 | #DIV/0!
| 1000 | 1000
| 3018000 | 3018000 | [5 empty] | 3018 | #DIV/0!
| 1000 | 1000
| 3027000 | 3027000 | [5 empty] | 3027 | #DIV/0!
| 1000 | 1000
| 3040000 | 3040000 | [5 empty] | 3040 | #DIV/0!
| 1000 | 1000
| 3040000 | 3040000 | [5 empty] | 3040 | #DIV/0!
| 1000 | 1000
| 3054000 | 3054000 | [5 empty] | 3054 | #DIV/0!
| 1000 | 1000
| 3080000 | 3080000 | [5 empty] | 3080 | #DIV/0!
| 1000 | 1000
| 3080000 | 3080000 | [5 empty] | 3080 | #DIV/0!
| 1000 | 1000
| 3080000 | 3080000 | [5 empty] | 3080 | #DIV/0!
| 1000 | 1000
| 3100000 | 3100000 | [5 empty] | 3100 | #DIV/0!
| 1000 | 1000
| 3100000 | 3100000 | [5 empty] | 3100 | #DIV/0!
| 1000 | 1000
| 3125000 | 3125000 | [5 empty] | 3125 | #DIV/0!
| 1000 | 1000
| 3125000 | 3125000 | [5 empty] | 3125 | #DIV/0!
| 1000 | 1000
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000
| 3150000 | 3150000 | [5 empty] | 3150 | #DIV/0!
| 1000 | 1000
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000
| 3180000 | 3180000 | [5 empty] | 3180 | #DIV/0!
| 1000 | 1000
| 3200000 | 3200000 | [5 empty] | 3200 | #DIV/0!
| 1000 | 1000
| 3200000 | 3200000 | [5 empty] | 3200 | #DIV/0!
| 1000 | 1000
| 3225000 | 3225000 | [5 empty] | 3225 | #DIV/0!
| 1000 | 1000
| 3240000 | 3240000 | [5 empty] | 3240 | #DIV/0!
| 1000 | 1000
| 3240000 | 3240000 | [5 empty] | 3240 | #DIV/0!
| 1000 | 1000
| 3250000 | 3250000 | [5 empty] | 3250 | #DIV/0!
| 1000 | 1000
| 3250000 | 3250000 | [5 empty] | 3250 | #DIV/0!
| 1000 | 1000
| 3280000 | 3280000 | [5 empty] | 3280 | #DIV/0!
| 1000 | 1000
| 3280000 | 3280000 | [5 empty] | 3280 | #DIV/0!
| 1000 | 1000
| 3300000 | 3300000 | [5 empty] | 3300 | #DIV/0!
| 1000 | 1000
| 3300000 | 3300000 | [5 empty] | 3300 | #DIV/0!
| 1000 | 1000
| 3310000 | 3310000 | [5 empty] | 3310 | #DIV/0!
| 1000 | 1000
| 3320000 | 3320000 | [5 empty] | 3320 | #DIV/0!
| 1000 | 1000
| 3330000 | 3330000 | [5 empty] | 3330 | #DIV/0!
| 1000 | 1000
| 3340000 | 3340000 | [5 empty] | 3340 | #DIV/0!
| 1000 | 1000
| 3350000 | 3350000 | [5 empty] | 3350 | #DIV/0!
| 1000 | 1000
| 3360000 | 3360000 | [5 empty] | 3360 | #DIV/0!
| 1000 | 1000
| 3375000 | 3375000 | [5 empty] | 3375 | #DIV/0!
| 1000 | 1000
| 3375000 | 3375000 | [5 empty] | 3375 | #DIV/0!
| 1000 | 1000
| 3400000 | 3400000 | [5 empty] | 3400 | #DIV/0!
| 1000 | 1000
| 3400000 | 3400000 | [5 empty] | 3400 | #DIV/0!
| 1000 | 1000
| 3408000 | 3408000 | [5 empty] | 3408 | #DIV/0!
| 1000 | 1000
| 3432000 | 3432000 | [5 empty] | 3432 | #DIV/0!
| 1000 | 1000
| 3432000 | 3432000 | [5 empty] | 3432 | #DIV/0!
| 1000 | 1000
| 3432000 | 3432000 | [5 empty] | 3432 | #DIV/0!
| 1000 | 1000
| 3456000 | 3456000 | [5 empty] | 3456 | #DIV/0!
| 1000 | 1000
| 3456000 | 3456000 | [5 empty] | 3456 | #DIV/0!
| 1000 | 1000
| 3456000 | 3456000 | [5 empty] | 3456 | #DIV/0!
| 1000 | 1000
| 3480000 | 3480000 | [5 empty] | 3480 | #DIV/0!
| 1000 | 1000
| 3500000 | 3500000 | [5 empty] | 3500 | #DIV/0!
| 1000 | 1000
| 3500000 | 3500000 | [5 empty] | 3500 | #DIV/0!
| 1000 | 1000
| 3500000 | 3500000 | [5 empty] | 3500 | #DIV/0!
| 1000 | 1000
| 3525000 | 3525000 | [5 empty] | 3525 | #DIV/0!
| 1000 | 1000
| 3540000 | 3540000 | [5 empty] | 3540 | #DIV/0!
| 1000 | 1000
| 3540000 | 3540000 | [5 empty] | 3540 | #DIV/0!
| 1000 | 1000
| 3550000 | 3550000 | [5 empty] | 3550 | #DIV/0!
| 1000 | 1000
| 3550000 | 3550000 | [5 empty] | 3550 | #DIV/0!
| 1000 | 1000
| 3575000 | 3575000 | [5 empty] | 3575 | #DIV/0!
| 1000 | 1000
| 3575000 | 3575000 | [5 empty] | 3575 | #DIV/0!
| 1000 | 1000
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000
| 3600000 | 3600000 | [5 empty] | 3600 | #DIV/0!
| 1000 | 1000
| 3625000 | 3625000 | [5 empty] | 3625 | #DIV/0!
| 1000 | 1000
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000
| 3640000 | 3640000 | [5 empty] | 3640 | #DIV/0!
| 1000 | 1000
| 3680000 | 3680000 | [5 empty] | 3680 | #DIV/0!
| 1000 | 1000
| 3680000 | 3680000 | [5 empty] | 3680 | #DIV/0!
| 1000 | 1000
| 3700000 | 3700000 | [5 empty] | 3700 | #DIV/0!
| 1000 | 1000
| 3700000 | 3700000 | [5 empty] | 3700 | #DIV/0!
| 1000 | 1000
| 3700000 | 3700000 | [5 empty] | 3700 | #DIV/0!
| 1000 | 1000
| 3720000 | 3720000 | [5 empty] | 3720 | #DIV/0!
| 1000 | 1000
| 3735000 | 3735000 | [5 empty] | 3735 | #DIV/0!
| 1000 | 1000
| 3735000 | 3735000 | [5 empty] | 3735 | #DIV/0!
| 1000 | 1000
| 3750000 | 3750000 | [5 empty] | 3750 | #DIV/0!
| 1000 | 1000
| 3765000 | 3765000 | [5 empty] | 3765 | #DIV/0!
| 1000 | 1000
| 3765000 | 3765000 | [5 empty] | 3765 | #DIV/0!
| 1000 | 1000
| 3780000 | 3780000 | [5 empty] | 3780 | #DIV/0!
| 1000 | 1000
| 3800000 | 3800000 | [5 empty] | 3800 | #DIV/0!
| 1000 | 1000
| 3800000 | 3800000 | [5 empty] | 3800 | #DIV/0!
| 1000 | 1000
| 3800000 | 3800000 | [5 empty] | 3800 | #DIV/0!
| 1000 | 1000
| 3810000 | 3810000 | [5 empty] | 3810 | #DIV/0!
| 1000 | 1000
| 3840000 | 3840000 | [5 empty] | 3840 | #DIV/0!
| 1000 | 1000
| 3840000 | 3840000 | [5 empty] | 3840 | #DIV/0!
| 1000 | 1000
| 3850000 | 3850000 | [5 empty] | 3850 | #DIV/0!
| 1000 | 1000
| 3850000 | 3850000 | [5 empty] | 3850 | #DIV/0!
| 1000 | 1000
| 3875000 | 3875000 | [5 empty] | 3875 | #DIV/0!
| 1000 | 1000
| 3875000 | 3875000 | [5 empty] | 3875 | #DIV/0!
| 1000 | 1000
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000
| 3900000 | 3900000 | [5 empty] | 3900 | #DIV/0!
| 1000 | 1000
| 3924000 | 3924000 | [5 empty] | 3924 | #DIV/0!
| 1000 | 1000
| 3936000 | 3936000 | [5 empty] | 3936 | #DIV/0!
| 1000 | 1000
| 3944000 | 3944000 | [5 empty] | 3944 | #DIV/0!
| 1000 | 1000
| 3952000 | 3952000 | [5 empty] | 3952 | #DIV/0!
| 1000 | 1000
| 3964000 | 3964000 | [5 empty] | 3964 | #DIV/0!
| 1000 | 1000
| 3972000 | 3972000 | [5 empty] | 3972 | #DIV/0!
| 1000 | 1000
| 3980000 | 3980000 | [5 empty] | 3980 | #DIV/0!
| 1000 | 1000
| 3992000 | 3992000 | [5 empty] | 3992 | #DIV/0!
| 1000 | 1000
| 4000000 | 4000000 | [5 empty] | 4000 | #DIV/0!
| 1000 | 1000
| 4008000 | 4008000 | [5 empty] | 4008 | #DIV/0!
| 1000 | 1000
| 4020000 | 4020000 | [5 empty] | 4020 | #DIV/0!
| 1000 | 1000
| 4028000 | 4028000 | [5 empty] | 4028 | #DIV/0!
| 1000 | 1000
| 4036000 | 4036000 | [5 empty] | 4036 | #DIV/0!
| 1000 | 1000
| 4050000 | 4050000 | [5 empty] | 4050 | #DIV/0!
| 1000 | 1000
| 4050000 | 4050000 | [5 empty] | 4050 | #DIV/0!
| 1000 | 1000
| 4064000 | 4064000 | [5 empty] | 4064 | #DIV/0!
| 1000 | 1000
| 4080000 | 4080000 | [5 empty] | 4080 | #DIV/0!
| 1000 | 1000
| 4080000 | 4080000 | [5 empty] | 4080 | #DIV/0!
| 1000 | 1000
| 4100000 | 4100000 | [5 empty] | 4100 | #DIV/0!
| 1000 | 1000
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000
| 4125000 | 4125000 | [5 empty] | 4125 | #DIV/0!
| 1000 | 1000
| 4150000 | 4150000 | [5 empty] | 4150 | #DIV/0!
| 1000 | 1000
| 4150000 | 4150000 | [5 empty] | 4150 | #DIV/0!
| 1000 | 1000
| 4150000 | 4150000 | [5 empty] | 4150 | #DIV/0!
| 1000 | 1000
| 4175000 | 4175000 | [5 empty] | 4175 | #DIV/0!
| 1000 | 1000
| 4175000 | 4175000 | [5 empty] | 4175 | #DIV/0!
| 1000 | 1000
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000
| 4200000 | 4200000 | [5 empty] | 4200 | #DIV/0!
| 1000 | 1000
| 4225000 | 4225000 | [5 empty] | 4225 | #DIV/0!
| 1000 | 1000
| 4230000 | 4230000 | [5 empty] | 4230 | #DIV/0!
| 1000 | 1000
| 4250000 | 4250000 | [5 empty] | 4250 | #DIV/0!
| 1000 | 1000
| 4250000 | 4250000 | [5 empty] | 4250 | #DIV/0!
| 1000 | 1000
| 4260000 | 4260000 | [5 empty] | 4260 | #DIV/0!
| 1000 | 1000
| 4260000 | 4260000 | [5 empty] | 4260 | #DIV/0!
| 1000 | 1000
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000
| 4290000 | 4290000 | [5 empty] | 4290 | #DIV/0!
| 1000 | 1000
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000
| 4320000 | 4320000 | [5 empty] | 4320 | #DIV/0!
| 1000 | 1000
| 4350000 | 4350000 | [5 empty] | 4350 | #DIV/0!
| 1000 | 1000
| 4350000 | 4350000 | [5 empty] | 4350 | #DIV/0!
| 1000 | 1000
| 4375000 | 4375000 | [5 empty] | 4375 | #DIV/0!
| 1000 | 1000
| 4375000 | 4375000 | [5 empty] | 4375 | #DIV/0!
| 1000 | 1000
| 4375000 | 4375000 | [5 empty] | 4375 | #DIV/0!
| 1000 | 1000
| 4400000 | 4400000 | [5 empty] | 4400 | #DIV/0!
| 1000 | 1000
| 4400000 | 4400000 | [5 empty] | 4400 | #DIV/0!
| 1000 | 1000
| 4400000 | 4400000 | [5 empty] | 4400 | #DIV/0!
| 1000 | 1000
| 4425000 | 4425000 | [5 empty] | 4425 | #DIV/0!
| 1000 | 1000
| 4425000 | 4425000 | [5 empty] | 4425 | #DIV/0!
| 1000 | 1000
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000
| 4440000 | 4440000 | [5 empty] | 4440 | #DIV/0!
| 1000 | 1000
| 4480000 | 4480000 | [5 empty] | 4480 | #DIV/0!
| 1000 | 1000
| 4480000 | 4480000 | [5 empty] | 4480 | #DIV/0!
| 1000 | 1000
| 4500000 | 4500000 | [5 empty] | 4500 | #DIV/0!
| 1000 | 1000
| 4500000 | 4500000 | [5 empty] | 4500 | #DIV/0!
| 1000 | 1000
| 4500000 | 4500000 | [5 empty] | 4500 | #DIV/0!
| 1000 | 1000
| 4520000 | 4520000 | [5 empty] | 4520 | #DIV/0!
| 1000 | 1000
| 4520000 | 4520000 | [5 empty] | 4520 | #DIV/0!
| 1000 | 1000
| 4550000 | 4550000 | [5 empty] | 4550 | #DIV/0!
| 1000 | 1000
| 4550000 | 4550000 | [5 empty] | 4550 | #DIV/0!
| 1000 | 1000
| 4550000 | 4550000 | [5 empty] | 4550 | #DIV/0!
| 1000 | 1000
| 4560000 | 4560000 | [5 empty] | 4560 | #DIV/0!
| 1000 | 1000
| 4600000 | 4600000 | [5 empty] | 4600 | #DIV/0!
| 1000 | 1000
| 4600000 | 4600000 | [5 empty] | 4600 | #DIV/0!
| 1000 | 1000
| 4600000 | 4600000 | [5 empty] | 4600 | #DIV/0!
| 1000 | 1000
| 4620000 | 4620000 | [5 empty] | 4620 | #DIV/0!
| 1000 | 1000
| 4620000 | 4620000 | [5 empty] | 4620 | #DIV/0!
| 1000 | 1000
| 4625000 | 4625000 | [5 empty] | 4625 | #DIV/0!
| 1000 | 1000
| 4650000 | 4650000 | [5 empty] | 4650 | #DIV/0!
| 1000 | 1000
| 4650000 | 4650000 | [5 empty] | 4650 | #DIV/0!
| 1000 | 1000
| 4650000 | 4650000 | [5 empty] | 4650 | #DIV/0!
| 1000 | 1000
| 4680000 | 4680000 | [5 empty] | 4680 | #DIV/0!
| 1000 | 1000
| 4680000 | 4680000 | [5 empty] | 4680 | #DIV/0!
| 1000 | 1000
| 4700000 | 4700000 | [5 empty] | 4700 | #DIV/0!
| 1000 | 1000
| 4700000 | 4700000 | [5 empty] | 4700 | #DIV/0!
| 1000 | 1000
| 4700000 | 4700000 | [5 empty] | 4700 | #DIV/0!
| 1000 | 1000
| 4725000 | 4725000 | [5 empty] | 4725 | #DIV/0!
| 1000 | 1000
| 4725000 | 4725000 | [5 empty] | 4725 | #DIV/0!
| 1000 | 1000
| 4750000 | 4750000 | [5 empty] | 4750 | #DIV/0!
| 1000 | 1000
| 4750000 | 4750000 | [5 empty] | 4750 | #DIV/0!
| 1000 | 1000
| 4750000 | 4750000 | [5 empty] | 4750 | #DIV/0!
| 1000 | 1000
| 4776000 | 4776000 | [5 empty] | 4776 | #DIV/0!
| 1000 | 1000
| 4776000 | 4776000 | [5 empty] | 4776 | #DIV/0!
| 1000 | 1000
| 4800000 | 4800000 | [5 empty] | 4800 | #DIV/0!
| 1000 | 1000
| 4800000 | 4800000 | [5 empty] | 4800 | #DIV/0!
| 1000 | 1000
| 4800000 | 4800000 | [5 empty] | 4800 | #DIV/0!
| 1000 | 1000
| 4824000 | 4824000 | [5 empty] | 4824 | #DIV/0!
| 1000 | 1000
| 4824000 | 4824000 | [5 empty] | 4824 | #DIV/0!
| 1000 | 1000
| 4848000 | 4848000 | [5 empty] | 4848 | #DIV/0!
| 1000 | 1000
| 4848000 | 4848000 | [5 empty] | 4848 | #DIV/0!
| 1000 | 1000
| 4875000 | 4875000 | [5 empty] | 4875 | #DIV/0!
| 1000 | 1000
| 4875000 | 4875000 | [5 empty] | 4875 | #DIV/0!
| 1000 | 1000
| 4875000 | 4875000 | [5 empty] | 4875 | #DIV/0!
| 1000 | 1000
| 4875000 | 4875000 | [5 empty] | 4875 | #DIV/0!
| 1000 | 1000
| 4905000 | 4905000 | [5 empty] | 4905 | #DIV/0!
| 1000 | 1000
| 4915000 | 4915000 | [5 empty] | 4915 | #DIV/0!
| 1000 | 1000
| 4925000 | 4925000 | [5 empty] | 4925 | #DIV/0!
| 1000 | 1000
| 4935000 | 4935000 | [5 empty] | 4935 | #DIV/0!
| 1000 | 1000
| 4940000 | 4940000 | [5 empty] | 4940 | #DIV/0!
| 1000 | 1000
| 4950000 | 4950000 | [5 empty] | 4950 | #DIV/0!
| 1000 | 1000
| 4960000 | 4960000 | [5 empty] | 4960 | #DIV/0!
| 1000 | 1000
| 4970000 | 4970000 | [5 empty] | 4970 | #DIV/0!
| 1000 | 1000
| 4980000 | 4980000 | [5 empty] | 4980 | #DIV/0!
| 1000 | 1000
| 4990000 | 4990000 | [5 empty] | 4990 | #DIV/0!
| 1000 | 1000
| 5000000 | 5000000 | [5 empty] | 5000 | #DIV/0!
| 1000 | 1000
| 5010000 | 5010000 | [5 empty] | 5010 | #DIV/0!
| 1000 | 1000
| 5020000 | 5020000 | [5 empty] | 5020 | #DIV/0!
| 1000 | 1000
| 5030000 | 5030000 | [5 empty] | 5030 | #DIV/0!
| 1000 | 1000
| 5040000 | 5040000 | [5 empty] | 5040 | #DIV/0!
| 1000 | 1000
| 5050000 | 5050000 | [5 empty] | 5050 | #DIV/0!
| 1000 | 1000
| 5060000 | 5060000 | [5 empty] | 5060 | #DIV/0!
| 1000 | 1000
| 5065000 | 5065000 | [5 empty] | 5065 | #DIV/0!
| 1000 | 1000
| 5075000 | 5075000 | [5 empty] | 5075 | #DIV/0!
| 1000 | 1000
| 5100000 | 5100000 | [5 empty] | 5100 | #DIV/0!
| 1000 | 1000
| 5100000 | 5100000 | [5 empty] | 5100 | #DIV/0!
| 1000 | 1000
| 5100000 | 5100000 | [5 empty] | 5100 | #DIV/0!
| 1000 | 1000
| 5125000 | 5125000 | [5 empty] | 5125 | #DIV/0!
| 1000 | 1000
| 5125000 | 5125000 | [5 empty] | 5125 | #DIV/0!
| 1000 | 1000
| 5125000 | 5125000 | [5 empty] | 5125 | #DIV/0!
| 1000 | 1000
| 5160000 | 5160000 | [5 empty] | 5160 | #DIV/0!
| 1000 | 1000
| 5160000 | 5160000 | [5 empty] | 5160 | #DIV/0!
| 1000 | 1000
| 5160000 | 5160000 | [5 empty] | 5160 | #DIV/0!
| 1000 | 1000
| 5160000 | 5160000 | [5 empty] | 5160 | #DIV/0!
| 1000 | 1000
| 5200000 | 5200000 | [5 empty] | 5200 | #DIV/0!
| 1000 | 1000
| 5200000 | 5200000 | [5 empty] | 5200 | #DIV/0!
| 1000 | 1000
| 5200000 | 5200000 | [5 empty] | 5200 | #DIV/0!
| 1000 | 1000
| 5200000 | 5200000 | [5 empty] | 5200 | #DIV/0!
| 1000 | 1000
| 5250000 | 5250000 | [5 empty] | 5250 | #DIV/0!
| 1000 | 1000
| 5250000 | 5250000 | [5 empty] | 5250 | #DIV/0!
| 1000 | 1000
| 5250000 | 5250000 | [5 empty] | 5250 | #DIV/0!
| 1000 | 1000
| 5250000 | 5250000 | [5 empty] | 5250 | #DIV/0!
| 1000 | 1000
| 5280000 | 5280000 | [5 empty] | 5280 | #DIV/0!
| 1000 | 1000
| 5280000 | 5280000 | [5 empty] | 5280 | #DIV/0!
| 1000 | 1000
| 5300000 | 5300000 | [5 empty] | 5300 | #DIV/0!
| 1000 | 1000
| 5300000 | 5300000 | [5 empty] | 5300 | #DIV/0!
| 1000 | 1000
| 5300000 | 5300000 | [5 empty] | 5300 | #DIV/0!
| 1000 | 1000
| 5325000 | 5325000 | [5 empty] | 5325 | #DIV/0!
| 1000 | 1000
| 5325000 | 5325000 | [5 empty] | 5325 | #DIV/0!
| 1000 | 1000
| 5325000 | 5325000 | [5 empty] | 5325 | #DIV/0!
| 1000 | 1000
| 5340000 | 5340000 | [5 empty] | 5340 | #DIV/0!
| 1000 | 1000
| 5375000 | 5375000 | [5 empty] | 5375 | #DIV/0!
| 1000 | 1000
| 5375000 | 5375000 | [5 empty] | 5375 | #DIV/0!
| 1000 | 1000
| 5375000 | 5375000 | [5 empty] | 5375 | #DIV/0!
| 1000 | 1000
| 5400000 | 5400000 | [5 empty] | 5400 | #DIV/0!
| 1000 | 1000
| 5400000 | 5400000 | [5 empty] | 5400 | #DIV/0!
| 1000 | 1000
| 5400000 | 5400000 | [5 empty] | 5400 | #DIV/0!
| 1000 | 1000
| 5400000 | 5400000 | [5 empty] | 5400 | #DIV/0!
| 1000 | 1000
| 5450000 | 5450000 | [5 empty] | 5450 | #DIV/0!
| 1000 | 1000
| 5460000 | 5460000 | [5 empty] | 5460 | #DIV/0!
| 1000 | 1000
| 5460000 | 5460000 | [5 empty] | 5460 | #DIV/0!
| 1000 | 1000
| 5460000 | 5460000 | [5 empty] | 5460 | #DIV/0!
| 1000 | 1000
| 5460000 | 5460000 | [5 empty] | 5460 | #DIV/0!
| 1000 | 1000
| 5460000 | 5460000 | [5 empty] | 5460 | #DIV/0!
| 1000 | 1000
| 5500000 | 5500000 | [5 empty] | 5500 | #DIV/0!
| 1000 | 1000
| 5500000 | 5500000 | [5 empty] | 5500 | #DIV/0!
| 1000 | 1000
| 5500000 | 5500000 | [5 empty] | 5500 | #DIV/0!
| 1000 | 1000
| 5520000 | 5520000 | [5 empty] | 5520 | #DIV/0!
| 1000 | 1000
| 5520000 | 5520000 | [5 empty] | 5520 | #DIV/0!
| 1000 | 1000
| 5550000 | 5550000 | [5 empty] | 5550 | #DIV/0!
| 1000 | 1000
| 5550000 | 5550000 | [5 empty] | 5550 | #DIV/0!
| 1000 | 1000
| 5550000 | 5550000 | [5 empty] | 5550 | #DIV/0!
| 1000 | 1000
| 5550000 | 5550000 | [5 empty] | 5550 | #DIV/0!
| 1000 | 1000
| 5600000 | 5600000 | [5 empty] | 5600 | #DIV/0!
| 1000 | 1000
| 5600000 | 5600000 | [5 empty] | 5600 | #DIV/0!
| 1000 | 1000
| 5600000 | 5600000 | [5 empty] | 5600 | #DIV/0!
| 1000 | 1000
| 5600000 | 5600000 | [5 empty] | 5600 | #DIV/0!
| 1000 | 1000
| 5625000 | 5625000 | [5 empty] | 5625 | #DIV/0!
| 1000 | 1000
| 5625000 | 5625000 | [5 empty] | 5625 | #DIV/0!
| 1000 | 1000
| 5640000 | 5640000 | [5 empty] | 5640 | #DIV/0!
| 1000 | 1000
| 5640000 | 5640000 | [5 empty] | 5640 | #DIV/0!
| 1000 | 1000
| 5650000 | 5650000 | [5 empty] | 5650 | #DIV/0!
| 1000 | 1000
| 5680000 | 5680000 | [5 empty] | 5680 | #DIV/0!
| 1000 | 1000
| 5680000 | 5680000 | [5 empty] | 5680 | #DIV/0!
| 1000 | 1000
| 5680000 | 5680000 | [5 empty] | 5680 | #DIV/0!
| 1000 | 1000
| 5700000 | 5700000 | [5 empty] | 5700 | #DIV/0!
| 1000 | 1000
| 5720000 | 5720000 | [5 empty] | 5720 | #DIV/0!
| 1000 | 1000
| 5720000 | 5720000 | [5 empty] | 5720 | #DIV/0!
| 1000 | 1000
| 5720000 | 5720000 | [5 empty] | 5720 | #DIV/0!
| 1000 | 1000
| 5750000 | 5750000 | [5 empty] | 5750 | #DIV/0!
| 1000 | 1000
| 5750000 | 5750000 | [5 empty] | 5750 | #DIV/0!
| 1000 | 1000
| 5760000 | 5760000 | [5 empty] | 5760 | #DIV/0!
| 1000 | 1000
| 5775000 | 5775000 | [5 empty] | 5775 | #DIV/0!
| 1000 | 1000
| 5775000 | 5775000 | [5 empty] | 5775 | #DIV/0!
| 1000 | 1000
| 5775000 | 5775000 | [5 empty] | 5775 | #DIV/0!
| 1000 | 1000
| 5800000 | 5800000 | [5 empty] | 5800 | #DIV/0!
| 1000 | 1000
| 5800000 | 5800000 | [5 empty] | 5800 | #DIV/0!
| 1000 | 1000
| 5800000 | 5800000 | [5 empty] | 5800 | #DIV/0!
| 1000 | 1000
| 5840000 | 5840000 | [5 empty] | 5840 | #DIV/0!
| 1000 | 1000
| 5850000 | 5850000 | [5 empty] | 5850 | #DIV/0!
| 1000 | 1000
| 5850000 | 5850000 | [5 empty] | 5850 | #DIV/0!
| 1000 | 1000
| 5850000 | 5850000 | [5 empty] | 5850 | #DIV/0!
| 1000 | 1000
| 5875000 | 5875000 | [5 empty] | 5875 | #DIV/0!
| 1000 | 1000
| 5875000 | 5875000 | [5 empty] | 5875 | #DIV/0!
| 1000 | 1000
| 5900000 | 5900000 | [5 empty] | 5900 | #DIV/0!
| 1000 | 1000
| 5900000 | 5900000 | [5 empty] | 5900 | #DIV/0!
| 1000 | 1000
| 5900000 | 5900000 | [5 empty] | 5900 | #DIV/0!
| 1000 | 1000
| 5922000 | 5922000 | [5 empty] | 5922 | #DIV/0!
| 1000 | 1000
| 5934000 | 5934000 | [5 empty] | 5934 | #DIV/0!
| 1000 | 1000
| 5940000 | 5940000 | [5 empty] | 5940 | #DIV/0!
| 1000 | 1000
| 5952000 | 5952000 | [5 empty] | 5952 | #DIV/0!
| 1000 | 1000
| 5964000 | 5964000 | [5 empty] | 5964 | #DIV/0!
| 1000 | 1000
| 5970000 | 5970000 | [5 empty] | 5970 | #DIV/0!
| 1000 | 1000
| 5982000 | 5982000 | [5 empty] | 5982 | #DIV/0!
| 1000 | 1000
| 5988000 | 5988000 | [5 empty] | 5988 | #DIV/0!
| 1000 | 1000
| 6000000 | 6000000 | [5 empty] | 6000 | #DIV/0!
| 1000 | 1000
| 6012000 | 6012000 | [5 empty] | 6012 | #DIV/0!
| 1000 | 1000
| 6018000 | 6018000 | [5 empty] | 6018 | #DIV/0!
| 1000 | 1000
| 6030000 | 6030000 | [5 empty] | 6030 | #DIV/0!
| 1000 | 1000
| 6036000 | 6036000 | [5 empty] | 6036 | #DIV/0!
| 1000 | 1000
| 6048000 | 6048000 | [5 empty] | 6048 | #DIV/0!
| 1000 | 1000
| 6060000 | 6060000 | [5 empty] | 6060 | #DIV/0!
| 1000 | 1000
| 6066000 | 6066000 | [5 empty] | 6066 | #DIV/0!
| 1000 | 1000
| 6078000 | 6078000 | [5 empty] | 6078 | #DIV/0!
| 1000 | 1000
| 6090000 | 6090000 | [5 empty] | 6090 | #DIV/0!
| 1000 | 1000
| 6096000 | 6096000 | [5 empty] | 6096 | #DIV/0!
| 1000 | 1000
| 6108000 | 6108000 | [5 empty] | 6108 | #DIV/0!
| 1000 | 1000
| 6114000 | 6114000 | [5 empty] | 6114 | #DIV/0!
| 1000 | 1000
| 6125000 | 6125000 | [5 empty] | 6125 | #DIV/0!
| 1000 | 1000
| 6150000 | 6150000 | [5 empty] | 6150 | #DIV/0!
| 1000 | 1000
| 6150000 | 6150000 | [5 empty] | 6150 | #DIV/0!
| 1000 | 1000
| 6150000 | 6150000 | [5 empty] | 6150 | #DIV/0!
| 1000 | 1000
| 6175000 | 6175000 | [5 empty] | 6175 | #DIV/0!
| 1000 | 1000
| 6175000 | 6175000 | [5 empty] | 6175 | #DIV/0!
| 1000 | 1000
| 6200000 | 6200000 | [5 empty] | 6200 | #DIV/0!
| 1000 | 1000
| 6200000 | 6200000 | [5 empty] | 6200 | #DIV/0!
| 1000 | 1000
| 6200000 | 6200000 | [5 empty] | 6200 | #DIV/0!
| 1000 | 1000
| 6225000 | 6225000 | [5 empty] | 6225 | #DIV/0!
| 1000 | 1000
| 6225000 | 6225000 | [5 empty] | 6225 | #DIV/0!
| 1000 | 1000
| 6250000 | 6250000 | [5 empty] | 6250 | #DIV/0!
| 1000 | 1000
| 6250000 | 6250000 | [5 empty] | 6250 | #DIV/0!
| 1000 | 1000
| 6250000 | 6250000 | [5 empty] | 6250 | #DIV/0!
| 1000 | 1000
| 6275000 | 6275000 | [5 empty] | 6275 | #DIV/0!
| 1000 | 1000
| 6275000 | 6275000 | [5 empty] | 6275 | #DIV/0!
| 1000 | 1000
| 6300000 | 6300000 | [5 empty] | 6300 | #DIV/0!
| 1000 | 1000
| 6300000 | 6300000 | [5 empty] | 6300 | #DIV/0!
| 1000 | 1000
| 6300000 | 6300000 | [5 empty] | 6300 | #DIV/0!
| 1000 | 1000
| 6325000 | 6325000 | [5 empty] | 6325 | #DIV/0!
| 1000 | 1000
| 6325000 | 6325000 | [5 empty] | 6325 | #DIV/0!
| 1000 | 1000
| 6350000 | 6350000 | [5 empty] | 6350 | #DIV/0!
| 1000 | 1000
| 6360000 | 6360000 | [5 empty] | 6360 | #DIV/0!
| 1000 | 1000
| 6360000 | 6360000 | [5 empty] | 6360 | #DIV/0!
| 1000 | 1000
| 6375000 | 6375000 | [5 empty] | 6375 | #DIV/0!
| 1000 | 1000
| 6375000 | 6375000 | [5 empty] | 6375 | #DIV/0!
| 1000 | 1000
| 6400000 | 6400000 | [5 empty] | 6400 | #DIV/0!
| 1000 | 1000
| 6400000 | 6400000 | [5 empty] | 6400 | #DIV/0!
| 1000 | 1000
| 6400000 | 6400000 | [5 empty] | 6400 | #DIV/0!
| 1000 | 1000
| 6400000 | 6400000 | [5 empty] | 6400 | #DIV/0!
| 1000 | 1000
| 6450000 | 6450000 | [5 empty] | 6450 | #DIV/0!
| 1000 | 1000
| 6450000 | 6450000 | [5 empty] | 6450 | #DIV/0!
| 1000 | 1000
| 6450000 | 6450000 | [5 empty] | 6450 | #DIV/0!
| 1000 | 1000
| 6450000 | 6450000 | [5 empty] | 6450 | #DIV/0!
| 1000 | 1000
| 6450000 | 6450000 | [5 empty] | 6450 | #DIV/0!
| 1000 | 1000
| 6500000 | 6500000 | [5 empty] | 6500 | #DIV/0!
| 1000 | 1000
| 6500000 | 6500000 | [5 empty] | 6500 | #DIV/0!
| 1000 | 1000
| 6500000 | 6500000 | [5 empty] | 6500 | #DIV/0!
| 1000 | 1000
| 6500000 | 6500000 | [5 empty] | 6500 | #DIV/0!
| 1000 | 1000
| 6500000 | 6500000 | [5 empty] | 6500 | #DIV/0!
| 1000 | 1000
| 6540000 | 6540000 | [5 empty] | 6540 | #DIV/0!
| 1000 | 1000
| 6540000 | 6540000 | [5 empty] | 6540 | #DIV/0!
| 1000 | 1000
| 6560000 | 6560000 | [5 empty] | 6560 | #DIV/0!
| 1000 | 1000
| 6560000 | 6560000 | [5 empty] | 6560 | #DIV/0!
| 1000 | 1000
| 6580000 | 6580000 | [5 empty] | 6580 | #DIV/0!
| 1000 | 1000
| 6580000 | 6580000 | [5 empty] | 6580 | #DIV/0!
| 1000 | 1000
| 6600000 | 6600000 | [5 empty] | 6600 | #DIV/0!
| 1000 | 1000
| 6600000 | 6600000 | [5 empty] | 6600 | #DIV/0!
| 1000 | 1000
| 6600000 | 6600000 | [5 empty] | 6600 | #DIV/0!
| 1000 | 1000
| 6620000 | 6620000 | [5 empty] | 6620 | #DIV/0!
| 1000 | 1000
| 6625000 | 6625000 | [5 empty] | 6625 | #DIV/0!
| 1000 | 1000
| 6640000 | 6640000 | [5 empty] | 6640 | #DIV/0!
| 1000 | 1000
| 6660000 | 6660000 | [5 empty] | 6660 | #DIV/0!
| 1000 | 1000
| 6660000 | 6660000 | [5 empty] | 6660 | #DIV/0!
| 1000 | 1000
| 6660000 | 6660000 | [5 empty] | 6660 | #DIV/0!
| 1000 | 1000
| 6680000 | 6680000 | [5 empty] | 6680 | #DIV/0!
| 1000 | 1000
| 6680000 | 6680000 | [5 empty] | 6680 | #DIV/0!
| 1000 | 1000
| 6700000 | 6700000 | [5 empty] | 6700 | #DIV/0!
| 1000 | 1000
| 6700000 | 6700000 | [5 empty] | 6700 | #DIV/0!
| 1000 | 1000
| 6720000 | 6720000 | [5 empty] | 6720 | #DIV/0!
| 1000 | 1000
| 6720000 | 6720000 | [5 empty] | 6720 | #DIV/0!
| 1000 | 1000
| 6750000 | 6750000 | [5 empty] | 6750 | #DIV/0!
| 1000 | 1000
| 6750000 | 6750000 | [5 empty] | 6750 | #DIV/0!
| 1000 | 1000
| 6750000 | 6750000 | [5 empty] | 6750 | #DIV/0!
| 1000 | 1000
| 6760000 | 6760000 | [5 empty] | 6760 | #DIV/0!
| 1000 | 1000
| 6780000 | 6780000 | [5 empty] | 6780 | #DIV/0!
| 1000 | 1000
| 6800000 | 6800000 | [5 empty] | 6800 | #DIV/0!
| 1000 | 1000
| 6800000 | 6800000 | [5 empty] | 6800 | #DIV/0!
| 1000 | 1000
| 6825000 | 6825000 | [5 empty] | 6825 | #DIV/0!
| 1000 | 1000
| 6825000 | 6825000 | [5 empty] | 6825 | #DIV/0!
| 1000 | 1000
| 6825000 | 6825000 | [5 empty] | 6825 | #DIV/0!
| 1000 | 1000
| 6825000 | 6825000 | [5 empty] | 6825 | #DIV/0!
| 1000 | 1000
| 6825000 | 6825000 | [5 empty] | 6825 | #DIV/0!
| 1000 | 1000
| 6875000 | 6875000 | [5 empty] | 6875 | #DIV/0!
| 1000 | 1000
| 6875000 | 6875000 | [5 empty] | 6875 | #DIV/0!
| 1000 | 1000
| 6875000 | 6875000 | [5 empty] | 6875 | #DIV/0!
| 1000 | 1000
| 6900000 | 6900000 | [5 empty] | 6900 | #DIV/0!
| 1000 | 1000
| 6900000 | 6900000 | [5 empty] | 6900 | #DIV/0!
| 1000 | 1000
| 6900000 | 6900000 | [5 empty] | 6900 | #DIV/0!
| 1000 | 1000
| 6900000 | 6900000 | [5 empty] | 6900 | #DIV/0!
| 1000 | 1000
| 6900000 | 6900000 | [5 empty] | 6900 | #DIV/0!
| 1000 | 1000
| 6960000 | 6960000 | [5 empty] | 6960 | #DIV/0!
| 1000 | 1000
| 6960000 | 6960000 | [5 empty] | 6960 | #DIV/0!
| 1000 | 1000
| 6960000 | 6960000 | [5 empty] | 6960 | #DIV/0!
| 1000 | 1000
| 6960000 | 6960000 | [5 empty] | 6960 | #DIV/0!
| 1000 | 1000
| 7000000 | 7000000 | [5 empty] | 7000 | #DIV/0!
| 1000 | 1000
| 7000000 | 7000000 | [5 empty] | 7000 | #DIV/0!
| 1000 | 1000
| 7000000 | 7000000 | [5 empty] | 7000 | #DIV/0!
| 1000 | 1000
| 7000000 | 7000000 | [5 empty] | 7000 | #DIV/0!
| 1000 | 1000
| 7000000 | 7000000 | [5 empty] | 7000 | #DIV/0!
| 1000 | 1000
| 7050000 | 7050000 | [5 empty] | 7050 | #DIV/0!
| 1000 | 1000
| 7050000 | 7050000 | [5 empty] | 7050 | #DIV/0!
| 1000 | 1000
| 7050000 | 7050000 | [5 empty] | 7050 | #DIV/0!
| 1000 | 1000
| 7050000 | 7050000 | [5 empty] | 7050 | #DIV/0!
| 1000 | 1000
| 7080000 | 7080000 | [5 empty] | 7080 | #DIV/0!
| 1000 | 1000
| 7080000 | 7080000 | [5 empty] | 7080 | #DIV/0!
| 1000 | 1000
| 7080000 | 7080000 | [5 empty] | 7080 | #DIV/0!
| 1000 | 1000
| 7100000 | 7100000 | [5 empty] | 7100 | #DIV/0!
| 1000 | 1000
| 7100000 | 7100000 | [5 empty] | 7100 | #DIV/0!
| 1000 | 1000
| 7125000 | 7125000 | [5 empty] | 7125 | #DIV/0!
| 1000 | 1000
| 7125000 | 7125000 | [5 empty] | 7125 | #DIV/0!
| 1000 | 1000
| 7150000 | 7150000 | [5 empty] | 7150 | #DIV/0!
| 1000 | 1000
| 7150000 | 7150000 | [5 empty] | 7150 | #DIV/0!
| 1000 | 1000
| 7150000 | 7150000 | [5 empty] | 7150 | #DIV/0!
| 1000 | 1000
| 7150000 | 7150000 | [5 empty] | 7150 | #DIV/0!
| 1000 | 1000
| 7200000 | 7200000 | [5 empty] | 7200 | #DIV/0!
| 1000 | 1000
| 7200000 | 7200000 | [5 empty] | 7200 | #DIV/0!
| 1000 | 1000
| 7200000 | 7200000 | [5 empty] | 7200 | #DIV/0!
| 1000 | 1000
| 7200000 | 7200000 | [5 empty] | 7200 | #DIV/0!
| 1000 | 1000
| 7200000 | 7200000 | [5 empty] | 7200 | #DIV/0!
| 1000 | 1000
| 7250000 | 7250000 | [5 empty] | 7250 | #DIV/0!
| 1000 | 1000
| 7250000 | 7250000 | [5 empty] | 7250 | #DIV/0!
| 1000 | 1000
| 7250000 | 7250000 | [5 empty] | 7250 | #DIV/0!
| 1000 | 1000
| 7250000 | 7250000 | [5 empty] | 7250 | #DIV/0!
| 1000 | 1000
| 7250000 | 7250000 | [5 empty] | 7250 | #DIV/0!
| 1000 | 1000
| 7290000 | 7290000 | [5 empty] | 7290 | #DIV/0!
| 1000 | 1000
| 7300000 | 7300000 | [5 empty] | 7300 | #DIV/0!
| 1000 | 1000
| 7300000 | 7300000 | [5 empty] | 7300 | #DIV/0!
| 1000 | 1000
| 7300000 | 7300000 | [5 empty] | 7300 | #DIV/0!
| 1000 | 1000
| 7320000 | 7320000 | [5 empty] | 7320 | #DIV/0!
| 1000 | 1000
| 7335000 | 7335000 | [5 empty] | 7335 | #DIV/0!
| 1000 | 1000
| 7350000 | 7350000 | [5 empty] | 7350 | #DIV/0!
| 1000 | 1000
| 7350000 | 7350000 | [5 empty] | 7350 | #DIV/0!
| 1000 | 1000
| 7375000 | 7375000 | [5 empty] | 7375 | #DIV/0!
| 1000 | 1000
| 7375000 | 7375000 | [5 empty] | 7375 | #DIV/0!
| 1000 | 1000
| 7375000 | 7375000 | [5 empty] | 7375 | #DIV/0!
| 1000 | 1000
| 7400000 | 7400000 | [5 empty] | 7400 | #DIV/0!
| 1000 | 1000
| 7400000 | 7400000 | [5 empty] | 7400 | #DIV/0!
| 1000 | 1000
| 7400000 | 7400000 | [5 empty] | 7400 | #DIV/0!
| 1000 | 1000
| 7425000 | 7425000 | [5 empty] | 7425 | #DIV/0!
| 1000 | 1000
| 7425000 | 7425000 | [5 empty] | 7425 | #DIV/0!
| 1000 | 1000
| 7440000 | 7440000 | [5 empty] | 7440 | #DIV/0!
| 1000 | 1000
| 7455000 | 7455000 | [5 empty] | 7455 | #DIV/0!
| 1000 | 1000
| 7455000 | 7455000 | [5 empty] | 7455 | #DIV/0!
| 1000 | 1000
| 7470000 | 7470000 | [5 empty] | 7470 | #DIV/0!
| 1000 | 1000
| 7485000 | 7485000 | [5 empty] | 7485 | #DIV/0!
| 1000 | 1000
| 7485000 | 7485000 | [5 empty] | 7485 | #DIV/0!
| 1000 | 1000
| 7500000 | 7500000 | [5 empty] | 7500 | #DIV/0!
STOP | 1000 | 1000 | [5 empty] | 1 | #DIV/0!
Note on D2: labina: Real sine amplitude, i.e. A*sin(w*t). It is NOT rms or peak-to-peak value.
Note on D7: labina: The algorithm must generate output quantity 'rms'. That is e.g. TWM-WFFT or TWM-WRMS
Note on D8: labina: Set to 1 to measure simultaneously both Digitizer amplitude and DC multimeter voltage. Set to 0 or keep empty to measure first AC and DC after.
Note on C12: Martin Šíra: The record length should be such to get coherent sampling. If the number of periods is the same as the signal frequency, coherent sampling should be always met, however the data processing can take a lot of time.